## BM Calcs
Site ID | Description of Measurement | Feet | Inches | Converted (10's of a foot) | Bench Mark Location | Entered in Contrail
100 | Top of Riser |  |  | 0 | Currently not installed due to drainage reconstruction (will complete when installed)
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  |  | 0
110 | Top of Riser |  |  | 0 | Inaccessible due to high water levels (will complete when accessible)
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  |  | 0
120 | Top of Riser |  |  | 0 | Top of concrete adjacent to sensor location
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 49.5 | 4.125
| Distance from Riser to BM |  | -6 | -0.5
| Stop Bolt to BM |  |  | 3.625
130 | Top of Riser | 7 | 5.75 | 7.4792 | Low corner of South wing wall
| Bench Mark (BM) | 2 | 6.75 | 2.5625
| Stop Bolt to T.O Riser |  | 22.125 | 1.8438
| Distance from Riser to BM |  |  | 4.9167
| Stop Bolt to BM |  |  | 6.7604
200 | Top of Riser |  |  | 0 | Corner of concrete outlet structure nearest riser location
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 247.25 | 20.6042
| Distance from Riser to BM |  | -8.5 | -0.70833
| Stop Bolt to BM |  |  | 19.8958
210 | Top of Riser | 8 | 1.75 | 8.1458 | Top corner of control wall next to Stand Pipe
| Bench Mark (BM) | 3 | 1.25 | 3.1042
| Stop Bolt to T.O Riser |  | 31.25 | 2.6042
| Distance from Riser to BM |  |  | 5.0417
| Stop Bolt to BM |  |  | 7.6458
320 | Top of Riser | 8 | 7.75 | 8.6458 | NE corner of storm sewer manhole concrete pad in parking lot
| Bench Mark (BM) | 3 | 9.75 | 3.8125
| Stop Bolt to T.O Riser |  | 21 | 1.75
| Distance from Riser to BM |  |  | 4.8333
| Stop Bolt to BM |  |  | 6.5833
330 | Top of Riser | 5 | 7 | 5.5833 | Top of concrete structure, closest to road
| Bench Mark (BM) |  | 7.75 | 0.64583
| Stop Bolt to T.O Riser |  | 76.875 | 6.4062
| Distance from Riser to BM |  |  | 4.9375
| Stop Bolt to BM |  |  | 11.3438
400 | Top of Riser | 7 | 5.25 | 7.4375 | Corner of wing wall next to the standpipe.
| Bench Mark (BM) | 1 | 9.75 | 1.8125
| Stop Bolt to T.O Riser |  | 33 | 2.75
| Distance from Riser to BM |  |  | 5.625
| Stop Bolt to BM |  |  | 8.375
410 | Top of Riser | 4 | 3 | 4.25 | Top of concrete outlet structure.
| Bench Mark (BM) | 4 | 7.75 | 4.6458
| Stop Bolt to T.O Riser |  | 85 | 7.0833
| Distance from Riser to BM |  |  | -0.39583
| Stop Bolt to BM |  |  | 6.6875
420 | Top of Riser | 7 | 5 | 7.4167 | NE corner of concrete outlet structure
| Bench Mark (BM) | 4 | 8.75 | 4.7292
| Stop Bolt to T.O Riser |  | 94.5 | 7.875
| Distance from Riser to BM |  |  | 2.6875
| Stop Bolt to BM |  |  | 10.5625
430 | Top of Riser |  |  | 0 | Top of concrete outlet structure adjacent to riser
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 110.625 | 9.2188
| Distance from Riser to BM |  | 4.375 | 0.36458
| Stop Bolt to BM |  |  | 9.5833
500 | Top of Riser | 7 | 0.5 | 7.0417 | SE corner of overflow outlet structure curb
| Bench Mark (BM) | 2 | 10.75 | 2.8958
| Stop Bolt to T.O Riser |  | 28.5 | 2.375
| Distance from Riser to BM |  |  | 4.1458
| Stop Bolt to BM |  |  | 6.5208
600 | Top of Riser | 5 | 6.5 | 5.5417 | UDFCD Benchmark
| Bench Mark (BM) | 3 | 10.875 | 3.9062
| Stop Bolt to T.O Riser |  | 81 | 6.75
| Distance from Riser to BM |  |  | 1.6354
| Stop Bolt to BM |  |  | 8.3854
610 | Top of Riser | 7 | 0.25 | 7.0208 | UDFCD Benchmark (On SE bridge abutment)
| Bench Mark (BM) | 3 | 6.25 | 3.5208
| Stop Bolt to T.O Riser |  | 18 | 1.5
| Distance from Riser to BM |  |  | 3.5
| Stop Bolt to BM |  |  | 5
630 | Top of Riser | 7 | 1.75 | 7.1458 | NW corner of concrete culvert
| Bench Mark (BM) | 6 | 1.875 | 6.1562
| Stop Bolt to T.O Riser |  | 93.5 | 7.7917
| Distance from Riser to BM |  |  | 0.98958
| Stop Bolt to BM |  |  | 8.7812
640 | Top of Riser |  |  | 0 | Concrete next to riser.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  | 26.75 | 2.2292
650 (stream) | Top of Riser | 7 | 3.75 | 7.3125 | Topof inlet structure with railing
| Bench Mark (BM) | 3 | 5.25 | 3.4375
| Stop Bolt to T.O Riser |  | 33.875 | 2.8229
| Distance from Riser to BM |  |  | 3.875
| Stop Bolt to BM |  |  | 6.6979
650 (basin) | Top of Riser |  |  | 0 | Corner of concrete next to riser, low step
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  | 10.5 | 0.875
710 | Top of Riser | 3 | 8.25 | 3.6875 | Concrete at base of corner of wing wall.
| Bench Mark (BM) | 5 | 4 | 5.3333
| Stop Bolt to T.O Riser |  | 21.25 | 1.7708
| Distance from Riser to BM |  |  | -1.6458
| Stop Bolt to BM |  |  | 0.125
720 (Pond) | Top of Riser | 8 | 1.5 | 8.125 | Top of concrete jutting out from sidewall near standpipe.
| Bench Mark (BM) |  | 4 | 0.33333
| Stop Bolt to T.O Riser |  | 77.75 | 6.4792
| Distance from Riser to BM |  |  | 7.7917
| Stop Bolt to BM |  |  | 14.2708
720 (Canal) | Top of Riser |  | 129.75 | 10.8125 | Northeast corner of concrete manhole pad, west of standpipe
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 10.8125
| Stop Bolt to BM |  |  | 10.8125
730 | Top of Riser | 6 | 3.25 | 6.2708 | Northeast corner of concrete manhole pad, west of standpipe
| Bench Mark (BM) |  | 11.875 | 0.98958
| Stop Bolt to T.O Riser |  | 134.25 | 11.1875
| Distance from Riser to BM |  |  | 5.2812
| Stop Bolt to BM |  |  | 16.4688
800 | Top of Riser |  |  | 0 | Concrete @ outlet grate at riser location
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 109.5 | 9.125
| Distance from Riser to BM |  | -0.75 | -0.0625
| Stop Bolt to BM |  |  | 9.0625
810 | Top of Riser |  |  | 0 | Concrete @ outlet grate at riser location
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 70.5 | 5.875
| Distance from Riser to BM |  | -5.5 | -0.45833
| Stop Bolt to BM |  |  | 5.4167
820 | Top of Riser | 9 | 0.25 | 9.0208 | SE corner of horizontal concrete at culvert
| Bench Mark (BM) | 1 | 4.5 | 1.375
| Stop Bolt to T.O Riser |  | 44.25 | 3.6875
| Distance from Riser to BM |  |  | 7.6458
| Stop Bolt to BM |  |  | 11.3333
850 | Top of Riser | 7 | 9.5 | 7.7917 | NW corner of transformer pad, NE of the standpipe.
| Bench Mark (BM) | 1 | 8.75 | 1.7292
| Stop Bolt to T.O Riser |  | 8.8 | 0.73333
| Distance from Riser to BM |  |  | 6.0625
| Stop Bolt to BM |  |  | 6.7958
860 | Top of Riser |  |  | 0 | Concrete wall next to riser.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 22.0625 | 1.8385
| Distance from Riser to BM |  | -1.625 | -0.13542
| Stop Bolt to BM |  |  | 1.7031
870 | Top of Riser | 5 | 7 | 5.5833 | Top of concrete underpass
| Bench Mark (BM) | 4 | 0.25 | 4.0208
| Stop Bolt to T.O Riser |  | 122.625 | 10.2188
| Distance from Riser to BM |  |  | 1.5625
| Stop Bolt to BM |  |  | 11.7812
940 | Top of Riser |  |  | 0 | Top of concrete outlet structure adjacent to stand pipe, next to railing post
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 123.125 | 10.2604
| Distance from Riser to BM |  | -3.375 | -0.28125
| Stop Bolt to BM |  |  | 9.9792
950 | Top of Riser |  |  | 0 | SW corner of concrete bridge structure at riser location
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 141.125 | 11.7604
| Distance from Riser to BM |  | 4 | 0.33333
| Stop Bolt to BM |  |  | 12.0938
1000 | Top of Riser |  |  | 0 | On top of concrete wall at riser location
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 124.75 | 10.3958
| Distance from Riser to BM |  | -1.25 | -0.10417
| Stop Bolt to BM |  |  | 10.2917
1020 | Top of Riser | 7 | 4 | 7.3333 | Top of concrete sidewall on inlet channel, near side from sensor
| Bench Mark (BM) | 2 | 3.25 | 2.2708
| Stop Bolt to T.O Riser |  | 9.64 | 0.80333
| Distance from Riser to BM |  |  | 5.0625
| Stop Bolt to BM |  |  | 5.8658
1040 | Top of Riser | 1 | 9.375 | 1.7812 | Corner of concrete bridge beam at riser location
| Bench Mark (BM) | 1 | 9.25 | 1.7708
| Stop Bolt to T.O Riser |  | 138.5 | 11.5417
| Distance from Riser to BM |  |  | 0.010417
| Stop Bolt to BM |  |  | 11.5521
1100 | Top of Riser |  |  | 0 | On concrete lip closest to the riser on the W side.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 28.75 | 2.3958
| Distance from Riser to BM |  | -23.14 | -1.9283
| Stop Bolt to BM |  |  | 0.4675
1110 | Top of Riser |  |  | 0 | Concrete directly below sensor location.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  | -1.5 | -0.125
1200 | Top of Riser |  |  | 0 | Corner of wing wall above the sensor.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 29 | 2.4167
| Distance from Riser to BM |  | 31.5 | 2.625
| Stop Bolt to BM |  |  | 5.0417
1300 | Top of Riser | 4 | 7.5 | 4.625 | On wing wall at "square" chisel mark
| Bench Mark (BM) | 3 | 7.75 | 3.6458
| Stop Bolt to T.O Riser |  | 81.875 | 6.8229
| Distance from Riser to BM |  |  | 0.97917
| Stop Bolt to BM |  |  | 7.8021
1310 | Top of Riser | 0 | 23.25 | 1.9375 | Top corner of concrete rail, directly above PT riser
| Bench Mark (BM) | 0 | 0 | 0
| Stop Bolt to T.O Riser | 10 | 1.25 | 10.1042
| Distance from Riser to BM |  |  | 1.9375
| Stop Bolt to BM |  |  | 12.0417
1320 | Top of Riser |  |  | 0 | Top of concrete adjacent to the riser location.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 111.5 | 9.2917
| Distance from Riser to BM |  | -3.75 | -0.3125
| Stop Bolt to BM |  |  | 8.9792
1340 | Top of Riser |  |  | 0 | Top of concrete
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 101 | 8.4167
| Distance from Riser to BM |  | -3.75 | -0.3125
| Stop Bolt to BM |  |  | 8.1042
1400 | Top of Riser |  |  | 0 | Top of outlet structure
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  | 77.75 | 6.4792
1483 | Top of Riser |  |  | 0 | Top of concrete wall at riser location
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 94.125 | 7.8438
| Distance from Riser to BM |  | -3.875 | -0.32292
| Stop Bolt to BM |  |  | 7.5208
1484 | Top of Riser |  |  | 0 | Top of manhole rim
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 121.25 | 10.1042
| Distance from Riser to BM |  | 12.75 | 1.0625
| Stop Bolt to BM |  |  | 11.1667
1500 | Top of Riser | 8 | 5 | 8.4167 | Top of NW corner of outlet structure.
| Bench Mark (BM) | 4 | 11.75 | 4.9792
| Stop Bolt to T.O Riser |  | 51 | 4.25
| Distance from Riser to BM |  |  | 3.4375
| Stop Bolt to BM |  |  | 7.6875
1520 | Top of Riser |  |  | 0 | Concrete wall directly behind riser
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 128.125 | 10.6771
| Distance from Riser to BM |  | -3.125 | -0.26042
| Stop Bolt to BM |  |  | 10.4167
1530 | Top of Riser | 4.86 |  | 4.86 | Corner of bridge.
| Bench Mark (BM) |  | 9 | 0.75
| Stop Bolt to T.O Riser |  | 168 | 14
| Distance from Riser to BM |  |  | 4.11
| Stop Bolt to BM |  |  | 18.11
1560 | Top of Riser |  |  | 0 | Top east corner of bridge wing wall
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  | 197 | 16.4167
1600 | Top of Riser | 7 | 6.25 | 7.5208 | Peak of outlet structure, north side nearest dam.
| Bench Mark (BM) | 1 | 8.5 | 1.7083
| Stop Bolt to T.O Riser |  | 45.625 | 3.8021
| Distance from Riser to BM |  |  | 5.8125
| Stop Bolt to BM |  |  | 9.6146
1610 | Top of Riser |  |  | 0 | Corner of concrete outflow structure
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 52.75 | 4.3958
| Distance from Riser to BM |  | -4.125 | -0.34375
| Stop Bolt to BM |  |  | 4.0521
1620 | Top of Riser |  |  | 0 | Top corner of concrete wing wall
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 41.125 | 3.4271
| Distance from Riser to BM |  | 66.185 | 5.5154
| Stop Bolt to BM |  |  | 8.9425
1720 | Top of Riser | 8 | 2.625 | 8.2188 | Corner of walkway/bridge curb SW, acute angled.
| Bench Mark (BM) |  | 5.25 | 0.4375
| Stop Bolt to T.O Riser |  | 31.5 | 2.625
| Distance from Riser to BM |  |  | 7.7812
| Stop Bolt to BM |  |  | 10.4062
1800 | Top of Riser | 6 | 1 | 6.0833 | Top of concrete bridge support at riser location
| Bench Mark (BM) | 6 | 2.75 | 6.2292
| Stop Bolt to T.O Riser |  | 29 | 2.4167
| Distance from Riser to BM |  |  | -0.14583
| Stop Bolt to BM |  |  | 2.2708
1810 | Top of Riser | 7 | 9.75 | 7.8125 | Corner of concrete retaining wall W of stairs
| Bench Mark (BM) | 1 | 2.5 | 1.2083
| Stop Bolt to T.O Riser |  | 36 | 3
| Distance from Riser to BM |  |  | 6.6042
| Stop Bolt to BM |  |  | 9.6042
1900 | Top of Riser |  |  | 0 | Top of concrete outlet adjacent to sensor
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 43.5 | 3.625
| Distance from Riser to BM |  | 2.875 | 0.23958
| Stop Bolt to BM |  |  | 3.8646
2220 | Top of Riser |  |  | 0 | Concrete dam @ riser location
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 152.5 | 12.7083
| Distance from Riser to BM |  | -12.75 | -1.0625
| Stop Bolt to BM |  |  | 11.6458
2230 | Top of Riser | 5 | 0.75 | 5.0625 | Corner of concrete bridge abutment closest to riser
| Bench Mark (BM) | 5 | 0.5 | 5.0417
| Stop Bolt to T.O Riser |  | 69.5 | 5.7917
| Distance from Riser to BM |  |  | 0.020833
| Stop Bolt to BM |  |  | 5.8125
2240 | Top of Riser | 7 | 3.75 | 7.3125 | Top of concrete pad, next to electrical box, @ chiseled "X" marker
| Bench Mark (BM) | 0 | 3.75 | 0.3125
| Stop Bolt to T.O Riser |  | 24.5 | 2.0417
| Distance from Riser to BM |  |  | 7
| Stop Bolt to BM |  |  | 9.0417
2250 | Top of Riser | 5 | 4.75 | 5.3958 | Downstream corner of concrete structure
| Bench Mark (BM) | 5 | 4.25 | 5.3542
| Stop Bolt to T.O Riser |  | 62 | 5.1667
| Distance from Riser to BM |  |  | 0.041667
| Stop Bolt to BM |  |  | 5.2083
2270 | Top of Riser | 2 |  | 2 | Top of West Culvert
| Bench Mark (BM) | 2 | 2.25 | 2.1875
| Stop Bolt to T.O Riser |  | 47.75 | 3.9792
| Distance from Riser to BM |  |  | -0.1875
| Stop Bolt to BM |  |  | 3.7917
2330 | Top of Riser |  |  | 0 | Top of concrete pad for USGS site, adjacent to riser
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 119.4375 | 9.9531
| Distance from Riser to BM |  | -22.75 | -1.8958
| Stop Bolt to BM |  |  | 8.0573
2370 | Top of Riser | 6 | 3.25 | 6.2708 | Top of (w/ cap) lower High Flow indictor post.
| Bench Mark (BM) | 2 | 3.5 | 2.2917
| Stop Bolt to T.O Riser |  | 24 | 2
| Distance from Riser to BM |  |  | 3.9792
| Stop Bolt to BM |  |  | 5.9792
4370 | Top of Riser |  |  | 0 | Wing wall adjacent to hut.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  | 88.25 | 7.3542
4380 | Bubbler Location | 8 | 7.5 | 8.625 | Downstream, stream side corner of concrete carriage pad next adjacent to hut.
| Bench Mark (BM) | 1 | 5.5 | 1.4583
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 7.1667
| Stop Bolt to BM |  |  | 7.1667
4390 | Top of Riser |  |  | 0 | Streamside edge of standpipe rim with the cover off.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 52.81 | 4.4008
| Distance from Riser to BM |  | 179.7 | 14.975
| Stop Bolt to BM |  |  | 19.3758
4400 | Top of Riser | 5 | 6 | 5.5 | Corner of concrete slab outside USGS hut door.
| Bench Mark (BM) | 5 | 4.5 | 5.375
| Stop Bolt to T.O Riser |  | 87.5 | 7.2917
| Distance from Riser to BM |  |  | 0.125
| Stop Bolt to BM |  |  | 7.4167
4410 | Top of Riser | 2 | 5.5 | 2.4583 | Bottom of lower flow indicator post next to riser.
| Bench Mark (BM) | 3 | 3.25 | 3.2708
| Stop Bolt to T.O Riser |  | 40.75 | 3.3958
| Distance from Riser to BM |  |  | -0.8125
| Stop Bolt to BM |  |  | 2.5833
4420 | Top of Riser | 2 | 5.875 | 2.4896 | Corner of Stone block just upstream of riser.
| Bench Mark (BM) | 2 | 3.75 | 2.3125
| Stop Bolt to T.O Riser |  | 56.25 | 4.6875
| Distance from Riser to BM |  |  | 0.17708
| Stop Bolt to BM |  |  | 4.8646
4430 | Top of Riser |  |  | 0 | Top of standpipe (cap off) on stream side edge.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 39.75 | 3.3125
| Distance from Riser to BM | 12.52 |  | 12.52
| Stop Bolt to BM |  |  | 15.8325
4440 | Top of Riser | 9 | 0.25 | 9.0208 | Top of standpipe (cap off) on stream side edge.
| Bench Mark (BM) |  | 0.75 | 0.0625
| Stop Bolt to T.O Riser |  | 52.5 | 4.375
| Distance from Riser to BM |  |  | 8.9583
| Stop Bolt to BM |  |  | 13.3333
4450 | Top of Riser |  |  | 0 | Corner of concrete slab outside USGS hut door.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 92.125 | 7.6771
| Distance from Riser to BM |  | -30.875 | -2.5729
| Stop Bolt to BM |  |  | 5.1042
4460 | Top of Riser | 4 | 9.25 | 4.7708 | Pointed corner of boulder supporting the riser. (photo)
| Bench Mark (BM) | 4 | 0.75 | 4.0625
| Stop Bolt to T.O Riser |  | 85.229 | 7.1024
| Distance from Riser to BM |  |  | 0.70833
| Stop Bolt to BM |  |  | 7.8107
4470 | Top of Riser | 3 | 9.125 | 3.7604 | Top of culvert.
| Bench Mark (BM) | 4 | 5.75 | 4.4792
| Stop Bolt to T.O Riser |  | 98.13 | 8.1775
| Distance from Riser to BM |  |  | -0.71875
| Stop Bolt to BM |  |  | 7.4588
4560 | Top of Riser |  |  | 0 | Concrete wing wall, adjacent to NW of stilling house.
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  | 101 | 8.4167
| Distance from Riser to BM |  | -24 | -2
| Stop Bolt to BM |  |  | 6.4167
4580 | Top of Riser |  |  | 0 | Center of manhole in diversion structure on N side of Boulder Creek
| Bench Mark (BM) |  |  | 0
| Stop Bolt to T.O Riser |  |  | 0
| Distance from Riser to BM |  |  | 0
| Stop Bolt to BM |  | 112 | 9.3333
4590 | Top of Riser | 7 | 7.125 | 7.5938 | NW corner of N wall of inlet structure S of site.
| Bench Mark (BM) | 1 | 10.5 | 1.875
| Stop Bolt to T.O Riser |  | 48.5 | 4.0417
| Distance from Riser to BM |  |  | 5.7188
| Stop Bolt to BM |  |  | 9.7604
4830 | Top of Riser | 6 | 5.875 | 6.4896 | Top of concrete standpipe foundation, stream side, next to PT conduit.
| Bench Mark (BM) | 4 | 8.75 | 4.7292
| Stop Bolt to T.O Riser |  | 13.75 | 1.1458
| Distance from Riser to BM |  |  | 1.7604
| Stop Bolt to BM |  |  | 2.9062
4840 | Top of Riser | 8 | 5.5 | 8.4583 | NE corner of concrete walkway on upstream control structure
| Bench Mark (BM) | 1 | 8.75 | 1.7292
| Stop Bolt to T.O Riser |  | 33.25 | 2.7708
| Distance from Riser to BM |  |  | 6.7292
| Stop Bolt to BM |  |  | 9.5
4870 | Top of Riser | 5 | 8.25 | 5.6875 | SE corner of concrete wall West of standpipe
| Bench Mark (BM) |  | 11.25 | 0.9375
| Stop Bolt to T.O Riser |  | 23 | 1.9167
| Distance from Riser to BM |  |  | 4.75
| Stop Bolt to BM |  |  | 6.6667