WESTERLY CREEK

FLOOD WARNING PLAN

WESTERLY CREEK FLOOD WARNING PLAN

TABLE OF CONTENTS

I.	INTRODUCTION	I-1

II.	THE DRAINAGE BASIN	II-1

Drainage Basin Description	II-1

Recent Flood Control Improvements	II-3

Existing flood control facilities	II-3

Flood History	II-6

Flood Hydrology	II-7

Flooding Extent (100-Year Floodplain)	II-18

III.	DECISION AIDS	III-1

General	III-1

The Decision Making Process	III-3

Problem Areas & Runoff Response Timing	III-7

IV.	REQUIRED ELEMENTS OF THE WARNING PLAN	IV-1

Detection and Evaluation of the Flood Threat	IV-1

Dissemination of Warnings, Watches and Advisories to the Public	IV-2

Response of the Public to the Warning	IV-5

V.	COMMUNICATIONS	V-1

VI.	METEOROLOGICAL SUPPORT	VI-1

VII.	FLOOD THREAT RECOGNITION AND WARNING PROCESS	VII-1

Detection and Evaluation of the Flood Threat	VII-1

Dissemination of the Warning	VII-2

Step by Step Procedure	VII-2

VIII.	PROCEDURES AND GENERAL RESPONSIBILITIES	VIII-1

National Weather Service and Private Meteorological Service	VIII-1

City and County of Denver	VIII-3

City of Aurora	VIII-11

IX.	PUBLIC DISSEMINATION	IX-1

X.	MEDIA CONTACTS	X-1

XI.	ANNUAL REVISIONS AND PRACTICES	XI-1

WESTERLY CREEK FLOOD WARNING PLAN

LIST OF FIGURES

Figure II-1	Westerly Creek Watershed	II-2

Figure II-2	Westerly Creek Discharge Profile	II-8

Figure II-3	Westerly Creek Tributary Discharge Profile	II-9

Figure II-4	Westerly Creek Tributary Discharge Profile (cont.)	II-10

Figure II-5	Westerly Creek Hydrograph at Outflow from Utah Park	II-11

Figure II-6	Westerly Creek Hydrograph at Inflow to Utah Park	II-12

Figure II-7	Westerly Creek Hydrograph at Inflow to Expo Park	II-13

Figure II-8	Westerly Creek Hydrograph at Outflow from Expo Park	II-14

Figure II-9	Westerly Creek Hydrograph at Havana Tributary at Mainstem	II-15

Figure II-10	Westerly Creek Hydrograph at Inflow into Lowry	II-16

Figure II-11	HFP #1 Utah Park (Stage Gage #433)	II-20

Figure II-12	HFP #2 Expo Park (Stage Gage #423)	II-21

Figure II-13	HFP #3 Kelly Dam (Stage Gage #413)	II-22

Figure II-14	HFP #4 Montview Park (Stage Gage #403)	II-23

Figure III-1	ALERT Flood Detection Network	III-4

Figure III-2	Hydrologic Forecast Point Guidance	III-6

Figure III-3	100-Year Floodplain Boundary and Flood Hazard Areas	III-11

Figure III-4	Typical ALERT Stream Gage Graphics	III-16

Figure V-1	Internal Communications Flow Chart	V-3

Figure VIII-1	Excerpt: Aurora – EOP - Flash Flood Annex (August 1992)	VIII-12

LIST OF TABLES

Table II-1	Historic Flooding/High Water Measurements	II-7

Table II-2	Westerly Creek Elevation – Storage – Discharge Relationship	II-17

Table III-1	ALERT Flood Detection Network	III-5

Table III-2	Urban Flash Flood Guidance	III-5

Table III-3	Convective Storm Characteristics (All depths in inches)	III-5

Table III-4	Hydrologic Forecast Point Location Descriptions	III-7

LIST OF NOMOGRAPHS

Nomograph III-1	HFP#1 – Westerly Creek at Utah Park	III-12

Nomograph III-2	HFP#2 – Westerly Creek at Expo Park	III-13

Nomograph III-3	HFP#3 – Westerly Creek at Kelly Dam	III-14

Nomograph III-4	HFP#4 – Westerly Creek at Montview	III-15

# INTRODUCTION

The flood warning plan for the Westerly Creek drainage basin is viewed as an annex or appendix to Denver and Aurora's emergency operations plans.  As such, it provides a set of operational procedures to be carried out during a flood on Westerly Creek.  The Westerly Creek drainage basin is located in both Aurora and Denver.  Therefore, planning and emergency response must be a multi-jurisdictional effort.

The Westerly Creek Flood Warning Plan is designed primarily to reduce the potential for loss of life resulting from flash floods within the Westerly Creek drainage basin.  This includes flood hazard areas located outside the defined floodplain for Westerly Creek (e.g., Easterly Creek or Del Mar Parkway, Windsor Gardens and other problem areas in the upper basin).  It is also probable that heavy precipitation occurring over the lower drainage basin below Kelly Road Dam would cause flooding before any problem develops at Kelly Road Dam.  The Westerly Creek Flood Warning Plan addresses this possibility by recognizing critical rainfall thresholds capable of causing this type of problem.

Urban Drainage and Flood Control District (UDFCD), the City and County of Denver, and the City of Aurora in cooperation with the National Weather Service prepared this plan.  UDFCD acknowledges the valuable contributions of many individuals that assisted in preparing this plan.

Users of this plan should be aware of the area wide meteorological support provided through UDFCD's Flash Flood Prediction Program, the weather and flood forecast information available via the Internet, fax, and email communications, and the real-time rainfall and stream level data from the automated flood detection network known as the ALERT System.

The user should read the entire plan carefully to be aware of all of its elements.  Users should also understand the following:

The local governments participating in this flood warning plan believe that the early flood detection system described herein is a key component of the complete flood warning system.  They recognize, however, that the possibility of inadvertent error in design or failure of equipment to function may prevent the system from operating perfectly at all times.  Therefore, nothing contained herein may be construed as a guarantee of the system or its operation, or create any liability on the part of any party or its directors, officers, employees or agents for any damage that may be alleged to result from either operating or failing to operate the detection system or any of its component parts.
NOTE: Similar language is found in Agreement No. 87-07.03

# THE DRAINAGE BASIN

This section provides an overview of the watersheds and flood hazards associated with Westerly Creek including descriptions of the drainage basin, historic floods, flood hydrology, and flooding extents.  Much of the information in this section of the warning plan was excerpted from the following flood studies:

- Urban Drainage and Flood Control District, City and County of Denver, City of Aurora, Flood Hazard Area Delineation, Westerly Creek, prepared by Camp Dresser & McKee., January 1977.

- Urban Drainage and Flood Control District, City and County of Denver, City of Aurora, Flood Hazard Area Delineation, Westerly Creek, prepared by Merrick, March 1983.

- Urban Drainage and Flood Control District, City of Aurora, Outfall Systems Planning, Westerly Creek East of Havana, prepared by Merrick, October 1996.

- FEMA, Digital Flood Insurance Rate Map (FIRM) and Flood Insurance Study, August 16, 1995.

- NOAA, National Climatic Data Center, Flood Event Record Details.

## Drainage Basin Description

The 17.5 square mile Westerly Creek drainage basin is located within the jurisdiction of Aurora, Denver and Lowry Air Force Base.  The drainage basin is a crescent shaped area draining in a northwest-to-north direction to its confluence with Sand Creek, a right-bank tributary of the South Platte River. The headwaters of the watershed rise on a low rolling divide between the Cherry Creek and West Toll Gate Creek drainage areas. The basin is about 8.5 miles long and 3 miles wide at its widest point.

From the headwaters to the confluence with Sand Creek, the total fall in the watershed is 425 feet, or an average slope of 0.9 percent. Thus the watershed tends to have a rapid response to storm events in both individual local subareas and in the basin as a whole. The basin at the present time contains approximately 900 acre-feet of detention storage, 80 percent of which is in man-made storm detention facilities of varying adequacies to control flooding.

A high percentage of the watershed is developed with residential and commercial properties.  Consequently, due to the substantial amount of impervious area, runoff from rainfall events occurs very rapidly with much higher volumes as compared with an undeveloped basin condition.

Figure II-1 shows the drainage basin boundaries for Westerly Creek.

Figure II-1	Westerly Creek Watershed

## Recent Flood Control Improvements

A number of flood control and storm drainage improvements have been constructed since 1996.  These facilities have changed the hydrologic response of the drainage basin and significantly reduced the flood hazard in certain areas.

In 1996, the City of Aurora in cooperation with the Urban Drainage and Flood Control District prepared an Outfall Systems Planning Study for Westerly Creek East of Havana. The planning study presented recommendations for improvements to detention ponds in publicly owned parks. These improvements reduce the downstream discharge, thereby decreasing flood drainage and minimizing the need for extensive conveyance improvements.

Since the planning study, the existing outfall structure from Expo Park was replaced with an outfall facility, which connects to the existing 48" storm sewer in Alameda Avenue. The embankment along the west side of Expo Park was raised to eliminate overflows into the Highline Canal.  The embankment along the Cobblewood Development was raised to provide 100-year protection.  A diversion pipe along Exposition Avenue was installed to divert minor flood flows in excess of base flows to the existing 66" storm sewer in Havana Street.

The embankment along the north boundary of Utah Park was raised by two feet and emergency spillway was installed at the northwest corner of the park.

Pond C, in Canterbury Park along the Canterbury Tributary, was modified by eliminating the trench drain in Joliet Street and replacing it with new inlets that connect to the storm drain in Joliet Street rather than the pond.

The Jewell Wetland area was purchased by Aurora and is now used to provide flood storage. Improvements included construction of a berm around the woodland area and installation of channel stabilization measures.

## Existing flood control facilities

The following paragraphs provide a brief discussion of existing flood control and drainage facilities, which will influence decision making relative to flood emergencies in the Westerly Creek drainage basin.  The paragraphs and corresponding figures also summarize available hydrologic and floodplain information.

### KELLY DAM

The previous plan gave considerable attention to the flood hazard in Denver immediately downstream of Kelly Road Detention Dam, which is located at the north end of Lowry AFB.  The potential for floodwaters to overtop the west embankment of Kelly Dam has been nearly eliminated by the construction of Westerly Creek Dam, which is located upstream of Kelly Dam adjacent to the Lowry AFB golf course.  Consequently, the previous procedure for detailed monitoring of Kelly Dam water levels by Lowry personnel is no longer necessary.  Kelly Dam water levels will continue to be monitored by the automated ALERT sensor located near the low flow outlet.  Lowry personnel can provide periodic or casual water level observations to Denver when requested.

### EXPO PARK DETENTION BASIN

The Expo Park detention basin (also known as Pond A-B) is located in Aurora on the main stem of Westerly Creek upstream of Lowry AFB and immediately east of the Highline Canal crossing of Alameda Avenue.  Low flows from the 5.8 square mile drainage basin outfall directly into the Highline Canal, thus isolating the upper basin from the lower basin for frequent runoff events.  For larger events, the facility discharges to the existing storm sewer system.  Flows that exceed this capacity are released over a spillway section onto Alameda.  An ALERT rain and stage gage located at Expo Park reports rainfall and water level information to all operating ALERT Base Stations.  A second stage sensor at this site reports water levels for the Highline Canal.  Figure II-2 shows the 100-year and 500-year floodplains for this area.  Special note should be made of the extent of flooding downstream of Expo Park at the intersection of Alameda and Havana.

### UTAH PARK DETENTION POND

The Utah Park Pond (also known as Pond D) is the upper most flood control facility on the main stem of Westerly Creek.  Utah Park is located in Aurora and drains approximately 1400 acres of urban land at the pond outlet.  This site is also equipped with an ALERT rain and stage gage.  There is no defined spillway for flows exceeding the capacity of the connecting storm sewer system.  Excess flows will overtop East Mexico Avenue near the northeast corner of the park and impact residential areas to the north.  The floodplain for this reach of Westerly Creek has not been defined.

### WINDSOR LAKE AND WINDSOR GARDEN APARTMENTS

Windsor Lake is located in the eastern portion of the Westerly Creek drainage basin just south and upstream of Lowry AFB.  A "dam break floodplain" has been defined by the Colorado Division of Water Resources, Office of the State Engineer.  Figure II-3 shows the approximate area impacted by this flood hazard with an enlargement showing the impact to Windsor Garden Apartments.  Recent storm drainage improvements in the area above Windsor Lake have intentionally re-routed flows to by-pass the lake, thereby reducing the potential for a heavy precipitation event to cause a dam failure.  The State Engineer's study does not consider these improvements and therefore, their impact is not known from a dam safety standpoint.  As long as the dam exists there is always the possibility for a structural failure, however remote, and the users of this plan must keep this in mind.

### HIGH LINE CANAL

As mentioned previously, the High line Canal intercepts runoff from a significant portion of the upper Westerly Creek basin.  The canal also intercepts runoff from many other drainage basins upstream.  The Denver Water Department owns the canal and has estimated its capacity to be approximately 300 cfs through the Westerly Creek basin.  A 1973 study by UDFCD indicates that the danger of breach exists within the Westerly Creek basin for a 10-year frequency event (i.e. approximately 2" of rain in two hours or less).  Aurora and Denver officials should be aware of any low points along the canal embankments and of the potential for debris problems at road crossings.

### EASTERLY CREEK AND HAVANA PARK DETENTION POND

Easterly Creek no longer exists as either a natural or an improved drainageway.  Easterly Creek may be more appropriately referred to as Del Mar Parkway, which is located in Aurora.  The Havana Park detention basin, located at the intersection of East 11th Avenue and Havana Street, represents the only open section of an otherwise closed storm sewer system.  An ALERT rain and stage gage has been installed at Havana Park.  No technical information is available for this facility.  The automated water level sensor will alarm at the base stations before critical flood conditions are reached.  Urban flash flood guidance contained in Section III should be used for recognizing critical rainfall thresholds for Easterly Creek.

### LOWER WESTERLY CREEK

Considerable attention was given in the past to anticipating release discharges from Kelly Dam for projecting flood conditions for lower Westerly Creek.  Upon review of the Westerly Creek discharge profile and the, now outdated, 100-year flood hydrographs at Kelly Dam, Colfax Avenue, 17th Avenue and Montview Boulevard, it is clear that a significant flood hazard still exists from heavy rain storms located over the lower uncontrolled portion of the watershed north and east of Lowry AFB.  The user of this plan should keep this possibility in mind and apply the urban flash flood guidance accordingly.

In reference to the dual peaked hydrograph at Colfax Avenue and other points downstream, the first peak represents runoff from the uncontrolled basin area and the second peak represents the routed flows from Kelly Dam.  These estimates of Kelly Dam releases are no longer valid due to the construction of Westerly Creek Dam.

An ALERT rain and stage gage has been installed at the Montview Boulevard crossing of Westerly Creek.  This site is referred to as the Montview Park gage and is the downstream most monitoring point in the flood detection network.  Montview Boulevard is adjacent to and immediately upstream of the old Stapleton International Airport property.

## Flood History

Little information is available on past flooding on Westerly Creek. Discharge measurements, high water marks and other flood data are limited. Historically floods have and will continue to occur in the basin.

1991, June 6.  A tornado was sighted in Arapahoe County with wind gusts ranging from 79 to 117 mph.  One inch of hail was recorded in Adams County.

1997, July 19.  Heavy rain producing thunderstorms caused flash flooding across parts of western Arapahoe and southern Denver Counties. Automated rain gages indicated 2 to 3 inches of rain had fallen in less than one hour. The heavy rainfall caused many intersections and underpasses to flood, stranding motorists. As a result, sections of Interstates 25 and 225 had to be closed until the floodwaters could recede.

2000, July 17.  Very moist and unstable conditions, combined with upslope during the late afternoon and evening hours, triggered widespread urban and small stream flooding in and around the Denver metropolitan area. Rainfall amounts generally ranged from 1 to 3 inches, with the heaviest rainfall occurring during the evening hours. Two miles east of White Ranch, an automated rain gage measured nearly 4 inches of rain/3.86/. Since the rain fell in a relatively open area, no flood damage was reported. In Greenwood Village however, near Peoria and Bellview, the road was closed for several hours as 2 feet of standing water covered the roadway.

2001, July 8.  Up to 4.5 inches of rain fell across portions of western Arapahoe County. The underpass of Interstate 25 and Parker Road was inundated with 5 feet of water. Several other streets and underpasses in Aurora were also closed due to the high water. Heavy rain caused extensive damage to several exhibits on display at the Cherry Creek Arts Festival.

2003, July 19.  Heavy rain producing thunderstorms caused flash flooding across parts of western Arapahoe and southern Denver Counties. Automated rain gages indicated 2 to 3 inches of rain had fallen in less than one hour. The heavy rainfall caused many intersections and underpasses to flood, stranding motorists. As a result, sections of Interstates 25 and 225 had to be closed until the floodwaters could recede.

2004, August 18.  Heavy rain caused flash flooding across much of Denver. A rain gage at City Park registered 4.37 inches of rainfall in the deluge. Several roads in and around the city had to be closed due to floodwaters, stranding vehicles. The fire department conducted at least 15 water rescues. One driver nearly drowned when he made a wrong turn into a retaining pond. Four men, who witnessed the accident, were able to save the man before his car became completely submerged. Considerable street flooding was reported in the vicinity of the old Stapleton Airport. Standing water over 6 inches deep were reported near I-70 and Quebec, I-225 south of I-70, and I-25 near 6th Ave. Floodwaters reached 8 feet deep in some low lying areas as sewers became clogged and the storm runoff pipes were unable to handle the heavy flow of water.

2005, June 3.  Severe thunderstorms producing heavy rain and hail caused flash flooding over parts of Southeast Denver. Numerous water rescues were reported with people trapped in their vehicles. Some of the hardest hit areas included: Interstate 25 and Alameda Ave., as well as Yale Ave. and Quebec St. Several basements along Eastman Place were also flooded.

Table II-1	Historic Flooding/High Water Measurements

| Station | ALERT ID | Peak Stage (ft) | Peak Flow (cfs) | Date |
| --- | --- | --- | --- | --- |
| Montview Park | 403 | 10.4 | 1,200 | July 19, 1997 |
| Kelly Dam | 413 | 52.4 | 80 | June 6, 1991 |
| Expo Park | 423 | 64.7 | 310 | June 6, 1991 |
| Expo Park-HL Canal | 424 | 4.3 | N.A. | June 6, 1991 |
| Utah Park | 433 (429) | 42.3 | 190 | June 6, 1991 |
| Havana Park | 503 | 8.1 | 540 | July 17, 2000 |

## Flood Hydrology

It is important to remember that many different combinations of rainfall and runoff are possible.  The information presented herein is considered reasonable for planning purposes, but is not intended as the only rainfall/runoff scenario possible.

The most recent hydrologic analyses for Westerly Creek include:

- Urban Drainage and Flood Control District, City and County of Denver, City of Aurora, Flood Hazard Area Delineation, Westerly Creek, prepared by Merrick, March 1983.

- Urban Drainage and Flood Control District, City of Aurora, Outfall Systems Planning, Westerly Creek East of Havana, prepared by Merrick, October 1996.

These studies account for the recent changes in land use and detention facilities and determine the peak discharges for the 2-, 5-, 10-, 50-, and 100-year floods at various points along the creek. The discharge profiles for each of these design storms at Westerly Creek and all its tributaries are provided below as are the hydrographs at key locations along Westerly Creek.

Figure II-2	Westerly Creek Discharge Profile

Figure II-3	Westerly Creek Tributary Discharge Profile

Figure II-4	Westerly Creek Tributary Discharge Profile (cont.)

Figure II-5	Westerly Creek Hydrograph at Outflow from Utah Park

Figure II-6	Westerly Creek Hydrograph at Inflow to Utah Park

Figure II-7	Westerly Creek Hydrograph at Inflow to Expo Park

Figure II-8	Westerly Creek Hydrograph at Outflow from Expo Park

Figure II-9	Westerly Creek Hydrograph at Havana Tributary at Mainstem

Figure II-10	Westerly Creek Hydrograph at Inflow into Lowry

Table II-2	Westerly Creek Elevation – Storage – Discharge Relationship

## Flooding Extent (100-Year Floodplain)

The 100-year floodplain has been delineated along Westerly Creek from the southern reaches of the watershed to its confluence with Sand Creek. The limits of the 100-year floodplain and floodway represent the area in which development is often regulated to prevent increases in water levels and increased damages during a flood. Federal and state agencies such as the Federal Emergency Management Agency (FEMA), Urban Drainage and Flood Control District, as well as local municipalities, use the floodplain and floodway delineations as a mechanism to identify areas particularly prone to damage from flooding and to oversee development activities in these floodplains.

The basis for this floodplain and floodway delineation is the hydrology, which has been summarized in an earlier section of this report. The delineation assumes full basin development, based on land use and zoning projections provided by the affected communities, and existing channel conditions. A hydraulic analysis has been performed for the 100-year discharge, the results of which were used to plot the 100-year floodplain. The floodway has been computed for the 100-year event based on a maximum half-foot and one-foot rise in the energy grade line or water surface elevation, whichever was greater.

The approximate outlines of the 100-year floodplains are presented in this report.  Brochures prepared from these maps are distributed annually by the Urban Drainage and Flood Control District to addresses located in or immediately adjacent to the 100-year floodplains.

The U.S. Army Corps of Engineers HEC-RAS computer program was used to delineation the 100-year floodplain. The program was used to analyze the hydraulic response of the streams and floodplains using existing channel cross sections. The computational procedure used in the model is the Standard Step Method with the assumptions that the flow is steady, gradually varied, one dimensional, and slopes are relatively small. Major input parameters include digitized cross sections, roughness coefficients, channel lengths between sections, and flow rates. Bridges and culverts were simulated using surveyed field data input into the model. Flow in the channel was assumed sub-critical except near drainage structures; therefore a mixed flow regime was used to calculate the water surface elevations. Values of Manning's roughness coefficient "n" were estimated for the channel and the left and right overbanks along the channel based on field observations.

Flow through structures is sometimes partially blocked during high flood flows due to debris accumulation. Most of the structures modeled had large openings, which reduces the amount of debris caught. Based on the size of the structures, and field observations, and District approval, an area reduction coefficient was not used in the model.

The 100-year floodplain for the existing channel condition, which includes the detention capacities of various facilities, is provided. The 100-year water surface elevations and floodplain limits determined in the study represent estimates based on updated hydrology, future development, and current channel geometry in the basin. As a result, the delineation may differ from the floodplain limits identified in earlier studies.  It should be noted that flooding of many areas will begin for floods more frequent than the 100-year flood.  Those areas are described below and are further discussed with the decision aids in Section III.  The following images show the extent of the 100-year floodplain near each HFP.

Figure II-11	HFP #1 Utah Park (Stage Gage #433)

Figure II-12	HFP #2 Expo Park (Stage Gage #423)

Figure II-13	HFP #3 Kelly Dam (Stage Gage #413)

Figure II-14	HFP #4 Montview Park (Stage Gage #403)

# DECISION AIDS

## General

A private meteorological forecasting service (PMS), retained by Urban Drainage and Flood Control District (UDFCD) will use decision aids for issuing appropriate messages in accordance with standard operating procedures and the supplemental information contained in this flood warning plan.  Flood conditions can be anticipated from the meteorological forecast. Measured rainfall and the site-specific decision aids and urban flash flood guidance are provided herein. Updates to the decision aids included with this warning plan will be made as experience is gained and more data become available.

The ALERT system is an automated flood detection network consisting of self-reporting rain, stream, weather, and reservoir gages that relay data using battery-powered VHF radios.  The ALERT network in the basin consists of multiple stations that measure rainfall, stream, weather, and reservoir information. These gages are part of a much larger network operated by UDFCD. ALERT receiving base stations located at UDFCD’s main office and the UDFCD Flood Prediction Center (FPC) collect and display data from the ALERT network in real-time.  The UDFCD base stations also host web services that allow users to view information over the Internet.  Rainfall and stream level alarms will alert users of threatening conditions.  Alarm notifications can be emailed automatically to warning plan participants.  Data from the gaging network are used to update flood peak forecasts, estimate flow arrival times and predict flood impacts at specific locations.

PMS is responsible for monitoring the FPC base station, evaluating the real-time data and updating forecasts with the use of available decision aids.  Simplified charts, tables, computer graphics and hydrologic models are the principle decision aids used to forecast flood conditions for specific problem areas.  Sections IV through VIII contain additional information concerning PMS operations and responsibilities.

Flood warning plan participants and local emergency response personnel have access to the current PMS forecast (pager, email, fax, or Internet…http://f2p2.udfcd.org).  ALERT gage data are available from Internet websites maintained by UDFCD (http://alert.udfcd.org and http://alert2.udfcd.org).  Individuals should make their own assessments of the flood threat by using the gage data, the PMS and NWS forecasts and any observations obtained from field personnel (police, sheriff, fire, public works, etc.) or other reliable sources.  Close coordination with public safety agencies should be maintained throughout this process.

The following decision aids are contained in this section of the warning plan:

- Approximate Flood Hazard Areas. This map shows the approximate flood hazard areas.  Brochures prepared from these GIS maps are distributed annually by the District to residences and businesses located in or near the respective flood plains.

- ALERT Flood Detection Network.  This map shows the location of all ALERT gaging stations within the basin and in surrounding areas.

- ALERT System Summary.  This table provides basic information regarding each gage in the drainage basin.

- Urban Flash Flood Guidance.  This table provides very basic rule-of-thumb guidance to associate forecast or measured rainfall amounts with the type of flooding produced from heavy rainstorms that occur over urban areas.

- Two Hour Convective Storm Characteristics. This table is used to estimate the frequency of either forecast or measured point rainfall.  Both the total rainfall and intensity columns need to be carefully considered in making this estimate.  This table is designed for use by trained technical personnel (hydrologists and hydro-meteorologists).  In translating an estimate of precipitation frequency into a flood prediction for a specific point, the user must also estimate the spatial distribution of rain from the ALERT gages, radar, or detailed quantitative precipitation forecast (QPF); and then calculate either a total basin average or contributing drainage area relative to storm size.  Hydrologic Forecast Point (HFP) Guidance can then be used to predict flooding for specific locations.

- Hydrologic Forecast Point (HFP) Guidance.  A location map showing each HFP within the drainage basin is shown along with a description of each HFP location. Site-specific flash flood guidance for each HFP is provided on subsequent pages.  Certain HFPs are co-located with ALERT stream gages.  HFP decision aids can be used with either forecast or measured rainfall to anticipate flooding for known problem areas (i.e. developed floodplains, road crossings, depressions, low-lying areas, reservoirs, detention basins, etc.).

- Typical ALERT Stream Gage Graphics.  Real-time displays showing current water levels, flow rates, and basin rainfall have been developed.  These displays update automatically as data is received and provide information regarding local problem areas, historic floods, flood frequency data, alarm levels, elevation data and site details.

## The Decision Making Process

The earliest indication of a potential problem will likely be the forecast from PMS or NWS.  When the threat of heavy rainfall exists, PMS will provide a Quantitative Precipitation Forecast (QPF) that estimates probabilities for various precipitation amounts and identifies where the greater amounts of precipitation are most likely to occur. Table III-2 should be used to estimate the flood potential and decision-makers should consider the recommended actions. Table III-3 and the HFP decision aids should than be checked to determine if the forecast rainfall will cause problems at or near the HFPs.  If no problems are anticipated based on this review, a normal level of vigilance should be maintained.  However, if the decision aids indicate a dangerous flood potential, a higher level of awareness should be maintained.

Decision makers should re-analyze flood threat once rainfall has begun and the gages are reporting.  To generate a flood projection, determine the maximum 10-, 30- and 60-minute rainfall amounts that have occurred or are projected based on measured rainfall and other meteorological information (radar, satellite imagery, upper air soundings, surface weather data, etc.).  Continue to make projections until the rainfall event has passed, problems have occurred, or the threat no longer exists.

The final confirmation that the drainage basin is indeed responding to significant rainfall is the rising stage measured by the ALERT stream gages and field reports from police, fire, public works personnel, or other reliable sources.  Although it is tempting to wait for this final confirmation, doing so will severely limit the time available to warn floodplain occupants and dispatch emergency personnel to critical areas.

It is imperative to implement the warning and response elements of this plan once a significant flood hazard exists.

Figure III-1	ALERT Flood Detection Network

Table III-1	ALERT Flood Detection Network

| ID | Station Name | Install Date | Elev (ft) | Location (Lat./Long.) |
| --- | --- | --- | --- | --- |
| 400 | Montview Park (Precip/Stage) | 1988/06/09 | 5,303 | 39:44:50 N 104:52:47 W |
| 410 | Kelly Dam (Precip/Stage) | 1988/06/22 | 5,344 | 39:43:57 N 104:53:19 W |
| 420 | Expo Park (Precip/Stage) | 1988/05/21 | 5,458 | 39:42:39 N 104:51:33 W |
| 430 | Utah Park (Precip/Stage) | 1988/05/21 | 5,536 | 39:41:07 N 104:50:37 W |
| 440 | Fire Station #7 (Precip) | 1988/05/21 | 5,620 | 39:40:33 N 104:49:23 W |
| 500 | Havana Park (Precip/Stage) | 1988/05/26 | 5,375 | 39:43:59 N 104:51:51 W |
| 510 | Virginia Court (Precip) | 1988/05/21 | 5,550 | 39:42:24 N 104:50:19 W |
| 520 | Jewell Detention (Precip) | 1988/05/21 | 5,560 | 39:40:54 N 104:51:35 W |
| 530 | Fire Station #19 (Precip) | 1988/05/21 | 5,420 | 39:42:38 N 104:55:12 W |
| 540 | Parker/Mississippi (Precip) | 1988/09/22 | 5,460 | 39:41:46 N 104:53:50 W |

Table III-2	Urban Flash Flood Guidance

| FORECAST RAINFALL | FLOOD POTENTIAL | RECOMMENDED ACTIONS |
| --- | --- | --- |
| Total amount between 0.5” to 1.0” | Streets, low-lying areas, intersections | Prepare for routine nuisance flooding |
| Total amount = 1.0” to 2.0” | All of the above plus small streams will run bankfull | Prepare for flooding of frequent problem areas |
| Total amount = 2.0” to 3.0” | All of the above plus floodplain inundation | Prepare for street closures |
| Total amount more than 3.0” | Major overbank flooding expected | Prepare for floodplain evacuations |
| Note: Rainfall amounts and guidance information apply to short duration storms (<= 1-hour) | Note: Refer to basin flood warning plans for site specific data | Note: use judgment on when to warn public, maintain contact with meteorologist |

Table III-3	Convective Storm Characteristics (All depths in inches)

| Rainfall Frequency / Probability | 10-minute Rainfall Depth | 30-minute Rainfall Depth | 1-hour Rainfall Depth | 2-hour Rainfall Depth |
| --- | --- | --- | --- | --- |
| 2-year / 50% | 0.4 | 0.8 | 1.0 | 1.2 |
| 5-year / 20% | 0.5 | 1.0 | 1.4 | 1.6 |
| 10-year / 10% | 0.6 | 1.2 | 1.6 | 1.9 |
| 25-year / 4% | 0.7 | 1.4 | 1.9 | 2.2 |
| 50-year / 2% | 0.8 | 1.6 | 2.2 | 2.6 |
| 100-year / 1% | 1.0 | 1.9 | 2.6 | 3.0 |

NOTES:

1)	For "rainfall frequency" to equal "flood frequency," the coverage of rainfall must be over the entire upstream basin.

2)	Tables III-2 and III-3 were developed to provide generalized guidance for estimating flood conditions in urban areas and for small streams draining less than 10 square miles.  Site-specific guidance should be used where appropriate.

Figure III-2	Hydrologic Forecast Point Guidance

Table III-4	Hydrologic Forecast Point Location Descriptions

| Hydrologic Forecast Point (HPF) | Description |
| --- | --- |
| HFP No. 1 | Utah Park (ID 433) |
| HFP No. 2 | Expo Park (ID 423) |
| HFP No. 3 | Kelly Dam (ID 413) |
| HFP No. 4 | Montview Park (ID 403) |

The following pages contain site-specific flash flood guidance nomographs for each HFP.  Certain HFPs are co-located with ALERT stream gages.  The nomograph anticipates flooding for known problem areas (i.e. developed floodplains, road crossings, depressions, low-lying areas, reservoirs, detention basins, etc.) using forecast rainfall or measured rainfall. The output from the nomograph provides a decision aid to support the evaluation of flooding for critical areas.

The user should be aware that intense rainfall can overwhelm the local storm drainage system and cause minor flooding outside of identified flood hazard areas.  One such location, for example, is the Windsor Garden Apartments, which represents the low point for drainage along Alameda Avenue.  Another example is the intersection of Alameda and Havana which is within a defined floodplain but has, on numerous occasions, experienced problems from localized rainfall and not by major flooding from Westerly Creek.  The previous discussion concern Easterly Creek is a third example.

Review of the preceding information indicates a relatively short time interval between the occurrence of peak rainfall and peak runoff.  Unfortunately, this will require quick mobilization and the potential for false warnings will be increased considering the quick response time of the basin.

## Problem Areas & Runoff Response Timing

This warning plan is geared toward overbank flooding from the main channel within the Westerly Creek drainage.  The user should be aware that intense rainfall can overwhelm the local storm drainage system and cause minor flooding outside any identified flood hazard area.

Numerous problems have been identified within the watershed.  Much of the watershed is served by small storm sewers.  During large events, these systems are surcharged and flow is conveyed in streets.  The combined capacity is often exceeded, resulting in more significant impacts such as street flooding, and, in larger events, property flooding.  This problem is particularly common where streets intersect and flow crosses arterial streets.

The baseline conditions model confirmed that facility inadequacies exist around Utah Park, Canterbury Park and Exposition Park.  The detention ponds at Utah Park and Exposition Park do not have the capacity to detain the fully developed 100-year runoff volume flowing to them.  This could result in overtopping of the pond berms and flooding of the surrounding areas during extreme events.  Some of the runoff draining to Pond C is not able to flow into the pond, causing street flooding of the surrounding area.

The following problems are identified within particular reaches:

### Westerly Creek Mainstem

Expo Park Pond does not have the capacity to store the fully developed 100-year runoff volume, therefore large events may result in embankment overtopping in the future.  The lack of inlets along Alameda Avenue and on the Havana Tributary cause frequent flooding in the intersection of Havana Street and Alameda Avenue which, in combination with spillway and embankment overflows, could be severe.

The City currently has an agreement allowing the discharge of flows from Expo Park into the Highline Canal.  The City has indicated that a major focus of this study is to eliminate the discharge of flows from Expo Park Pond into the Highline Canal.  Under the existing conditions, water from Expo Park enters the Highline Canal through the normal service outlet.  During extreme events, water overtops the Expo Park spillway and embankment allowing even more flow into the Highline Canal.  Localized street flooding is expected to occur at the southern entrance to the park, as a result of tailwater during the 100-year event.  The channel on the southern portion of this reach is generally adequate to convey flood flows, although flooding would be expected to occur at the Kentucky Avenue and Exposition Avenue crossing during large events.

The 8’ x 6’ box culvert south of Mississippi Avenue and the double 6’ x 3’ box culvert under Mississippi Avenue (both at the Westerly Creek crossing) are undersized for the major storm.  Runoff in excess of the culvert capacity could cause flooding of the business in the vicinity of Buckingham Square.

The concrete channel downstream of the Utah Park outfall is undersized for the amount of discharge directed to it during major floods.  This is primarily due to the overflow from the Utah Park detention pond. The culverts under the Florida Avenue/Peoria Street intersection are undersized.  There is a risk of flooding and property damage west of Peoria as the flow attempts to return to Westerly Creek

Utah Park pond is incapable of handling the entire 100-year runoff volume.  As a result, some flooding may occur around the perimeter of the Park.

In addition to the problems around the park, the upstream channel and street crossing are insufficient to convey flows during extreme events and may result in flooding, particularly at the crossings of Yale Avenue, Iliff Avenue and Jewell Avenue.  The channel through much of this reach has been improved but is aligned adjacent to, and above, the natural thalweg.  Any overtopping results in flow leaving the channel and returning only at street crossings.

Major flow entering Exposition Park from the east cannot be accommodated by the existing storm sewers.  Runoff in excess of the storm sewer capacities may impact the residences immediately east of Exposition Park.  Also, during extreme events, the water surface in Expo Park will surcharge the Virginia Drive storm sewer, causing flooding at the Virginia Drive/Lansing Street intersection.  Further upstream of this tributary, flooding flows exceed the capacity of the street, particularly in the vicinity of Peoria Street and Virginia Drive.

### Havana Tributary

Frequent street flooding occurs at the Alameda Avenue/Havana Street intersection as a result of a lack of storm inlets on Havana Street upstream of this intersection.  This condition will be severely aggravated when combined with overflows from Expo Park which are expected in extreme events.

The crossing under the Highline Canal at Exposition Avenue is inadequate to convey major flows.  This, in combination with lack of adequate inlet capacity, results in some of the flood flows leaving Havana Street and flowing to the west or north into the Highline Canal.

The intersection of Mississippi Avenue and Havana Street is frequently flooded as a result of inadequate pipe and street capacity upstream on Havana Street.  The flow enters the intersection from the south and east along the streets.  It also enters from the northwest corner of the Buckingham Square parking lot, where overflows from Havana Street and Buckingham Square further south have collected.

### Canterbury Tributary

This small reach conveys flows from Canterbury Pond, or those flows which have bypassed the pond, to the mainstem of Westerly Creek.  Flows are generally in the street or via a pipe system.  There is potential for streets to overflow into the shopping center parking lots to the north and west of Canterbury Pond prior to joining the Westerly Creek mainstem.

This reach extends south from Canterbury Park.  The inlet structure into the pond functions normally during very low flow events when pipe discharges along Joliet Street are diverted into the pond.  During larger events, or when the pond is approximately 4’ deep, the diversion in Joliet Street does not function as intended.  In fact, drainage bubbles up into Joliet Street through the street inlet.  Further south, flow is generally in the street or in a storm sewer system.

### Jewell Tributary

This eastern tributary to Utah Park drains the far eastern portion of the Westerly Creek watershed.  The box culvert at Tucson Street is inadequate and backs water up into the upstream channel.  The conveyance is a pipe and a well-defined overflow channel which is capable of conveying most inflows.  The upstream end of this reach is the junction of the following reaches described as well as a smaller channel entering from the north.

This reach passes through an undeveloped area west of I-225.  The channel circumvents an existing cottonwood grove which has been described by the Corps of Engineers as a premier example of an urban wetland.  The wetland does provide incidental detention storage in its natural condition.  Significant channel degradation, probably the result of increased low flows due to upstream development, has resulted in less frequent flood overflows into the wetland and the probable lowering of the groundwater table.  Both these occurrences may threaten the long term viability of this wetland area.

A major inadvertent detention area occurs east of I-225 near Jewell Avenue.  The existing culverts under I-225 do not have the capacity to convey the runoff flowing to them, therefore runoff ponds around these culverts.  Without considering other areas of upstream detention, approximately 7 acre-feet of runoff from the 100-year storm is inadvertently detained around the Abilene Street and Jewell Avenue intersection.  The limits of ponding are expected to extend well into the parking areas of the surrounding businesses and around a nearby electrical sub-station.

The channel through Heather Ridge Golf Course, north of Iliff Avenue, is not capable of conveying major flows.  Storm flows in excess of the channel capacity will impact adjacent properties.  A small ditch and culvert are intended to collect and convey runoff from east of I-225.  Major storm flows of approximately 300 cfs exceed the capacity of the ditch.  Excess runoff crosses the northbound lane of I-225 and enters the median borrow ditch.  Inadvertent detention occurs south and east of Iliff Avenue and I-225.

The flooding problem areas described are shown on the map below.

Figure III-3	100-Year Floodplain Boundary and Flood Hazard Areas

Nomograph III-1	HFP#1 – Westerly Creek at Utah Park

Nomograph III-2	HFP#2 – Westerly Creek at Expo Park

Nomograph III-3	HFP#3 – Westerly Creek at Kelly Dam

Nomograph III-4	HFP#4 – Westerly Creek at Montview

Figure III-4	Typical ALERT Stream Gage Graphics

Note: Graphic displays like the one above for ALERT stream gages may be viewed by clicking on flow rate or water level values on the streamflow map – http://alert2.udfcd.org/cgi-bin/gdview?tpt=map21qweb

# REQUIRED ELEMENTS OF THE WARNING PLAN

A complete flood warning plan consists of three basic elements:

1.	Detection and evaluation of the flood threat.

2.	Dissemination of the flood warnings to the public.

3.	Response of the public to the warnings.

All three parts must function properly or the warning plan will fail.  The main purpose of the warning plan is to minimize the potential for loss-of-life.  Public safety agencies will make decisions concerning floodplain evacuations and road closures.  Individuals must also make appropriate decisions to protect themselves and their families.  In some instances, a limited amount of emergency floodproofing by property owners can be accomplished.  For residences and businesses along Westerly Creek and its tributaries, a flash flood warning would not likely provide enough lead-time to safely effect damage prevention measures such as sandbagging.  Emergency property protection would probably be limited to turning off main gas and electricity connections.

The following pages provide a brief description of each of the three required elements listed above relative to this flood warning plan for Westerly Creek.

## Detection and Evaluation of the Flood Threat

The Westerly Creek early flood threat detection and evaluation element consists of the following items:

ORGANIZATIONS, RESOURCES AND PROCEDURES

1.	The National Weather Service (NWS) Weather Forecast Office at Boulder and their NEXRAD Doppler Radar stations located at Denver, Cheyenne and Pueblo.

2.	A private meteorological firm (PMS) retained by Urban Drainage and Flood Control District (UDFCD) to coordinate with NWS; collect and analyze all pertinent weather and flood data; prepare daily heavy precipitation outlooks; provide affected jurisdictions with early notification of flood potentials; and update jurisdictions as conditions change.

3.	The Denver Office of Emergency Management (Denver OEM) and Aurora Fire Communications that receive and disseminate all incoming weather and flood information.  These two organizations are the primary communication links between PMS, NWS and other flood warning plan participants.

4.	Communication arrangements defined to insure adequate communications between all parties at all times.  Primary communications are by telephone.  Amateur radio operators may be contacted to provide backup communications.

5.	Standard messages used by PMS to provide information to Denver OEM and Aurora Fire for relay to affected departments and organizations.  PMS also communicates urgent "RED FLOOD ALERT" messages directly to the Denver Wastewater Management Division (WMD) to prompt early preparedness actions on their part.

6.	Emergency Operation Centers (EOCs) in Denver and Aurora activated in a pre-emergency mode to gather and analyze information concerning the flood potential; maintain contacts with meteorologists, hydrologists and other support personnel; take early preparedness actions; mobilize field resources; and make warning decisions.

7.	A Flood Prediction Center (FPC) at UDFCD that is staffed by PMS when flood potentials exist.

8.	Officials from Denver and Aurora who receive all critical weather and flood information and respond according to their respective internal procedures.

9.	Field personnel from police, fire, public works and other agencies dispatched to monitoring points to report rainfall amounts, stream and detention basin water levels, and general flood conditions.

10.	Internal procedures and operating guidelines that are maintained, practiced and routinely updated by each participating local government agency, forecast service and support organization.

EQUIPMENT, DATA SOURCES AND DECISION GUIDANCE

1.	Satellite imagery display equipment located at NWS and PMS enabling meteorologists to see approaching weather systems and estimate local arrival times.

2.	Automated weather stations used to forecast flood potentials and predict storm development and movement.

3.	Data communications equipment, computers and software used to collect and analyze pertinent upper air and surface data.

4.	Radar product display equipment at NWS and PMS enabling meteorologists to evaluate current weather conditions; update heavy precipitation forecasts; estimate rainfall amounts at specific locations; predict storm movement, duration, and areal coverage; refine flood predictions; and anticipate specific flood problems.

5.	Automated rain and stream gages that transmit real-time event data from Westerly Creek to base stations located at PMS, NWS, UDFCD, Denver WMD and Aurora Utilities.

6.	Decision aids that are used to quickly analyze the real-time data, refine forecasts and predict specific flood impacts.

## Dissemination of Warnings, Watches and Advisories to the Public

Several ways exist to disseminate flood warnings, watches and advisories to the public.  The delivery of public flood warnings is dependent, to a large extent, upon the electronic news media (i.e., radio and television) with NWS being primarily responsible for the initial release of the warning and its content.  Local governments are also responsible for disseminating public warning information within their political boundaries.

Three basic types of flood information are disseminated to the public:

1.	Advisory (meaning that nuisance flooding or flooding of a "less serious" nature is either possible or occurring);

2.	Watch (meaning that weather conditions are such that a hazardous flood may occur); and

3.	Warning (meaning that a flood that poses a significant threat to life or property is either occurring, is imminent, or has a very high probability of occurrence).  The above types of information can be issued by NWS, the local governments or both.

NWS uses the following products to convey flood information to the public and to cooperating agencies:

1.	Special Weather Statement.  This frequently issued statement may contain advisory information indicating a potential for heavy precipitation and possible flooding.  It is also used to amplify watches, warnings, and advisories by reinforcing the message, indicating what is expected, and outlining appropriate response actions.

2.	Urban/Small Stream Flood Advisory.  This advisory is typically used to indicate that minor nuisance flooding of small streams, streets, intersections and low-lying areas is imminent or occurring.

3.	Flood/Flash Flood Watch.  This product means that flooding or flash flooding is possible within the geographic area described, but that the occurrence is neither certain nor imminent.

4.	Flood/Flash Flood Warning.  This product means that hazardous flooding or flash flooding is imminent or occurring within the geographic area described.

All NWS products described above will be disseminated using NOAA Weather Radio and NOAA Weather Wire.  Flash flood watches, warnings, and urban/small stream flood advisories will also be disseminated over NAWAS.  The use of METS is limited to flash flood warnings and other warning products.

Local governments can initiate flood warnings and provide the public at risk with emergency information prior to an NWS issuance.  PMS messages, current rain and stream level data from the ALERT system, and manual field observations can be used by officials for making warning decisions (refer to Sections III and VI).  Local warnings can be disseminated over METS.  NWS will receive the information from METS and re-transmit the information as necessary and practicable.  Also, NWS can be contacted directly by local governments with additional dissemination requests.

The following presents a brief description of the several public dissemination methods mentioned in the above paragraphs along with some other available warning options:

1.	National Warning System (NAWAS).  NAWAS consists of full-period, private line voice circuits.  NWS uses NAWAS to disseminate flood advisories, flash flood watches and warnings to "Warning Points" in Colorado.  One 24-hour Warning Point in this system is located at the Denver Office of the Colorado State Patrol.

2.	Metropolitan Emergency Telephone System (METS).  This is a telephone network which government agencies and the media can subscribe to.  Denver, Aurora and the National Weather Service (NWS) can quickly pass information to the media subscribers for broadcast on radio and TV.  NWS uses METS for warnings (but not watches or advisories).

3.	NOAA Weather Wire.  This is a satellite or Teletype-based communications system over which NWS can pass information to local governments or media subscribers for broadcast.

4.	NOAA Weather Radio.  This is a radio station operated by NWS (Frequencies: 162.550, 162.475, and 162.450 MHz).  Special weather radio receivers or scanners can be purchased by anyone who is interested.

5.	Emergency Alert System (EAS).  The EAS consists of radio, television, and cable outlets throughout the United States who are linked together to provide live broadcasts of  presidential messages during times of national emergency.  On a voluntary basis, the system may also be used for broadcasting state and local emergency warnings and information.  Locally, radio station KOA (850 AM) is the primary entry point for the system.  Denver, Aurora and NWS have input capability into the system along with the Colorado State Patrol and the Colorado Office of Emergency Management.

6.	Automated Emergency Call System.  This telephone notification method, also known as the Emergency Preparedness Network, uses the 9-1-1 Qwest phone number database to automatically dial and warn homes and businesses within affected areas concerning floods and other emergencies.  The system is capable of handling up to 1200 calls per minute.

7.	Cable Television Interrupt.  This warning method is used by communications personnel to voice over-ride all cable TV programming for emergency messages.

8.	Outdoor Warning Systems.  Fixed-location outdoor sirens and siren/voice warning systems may be used to warn people in and near the floodplain of an approaching flash flood and order evacuations if deemed necessary.

9.	Emergency Vehicles.  When a decision to evacuate the floodplain has been made, local law enforcement agencies and fire departments may dispatch vehicles to circulate through assigned portions of the floodplain using sirens and mobile public address systems to advise occupants to evacuate.  Standard messages to be used on the public address systems are given in Section IX.

Once the decision to warn and/or evacuate has been made, it is necessary to quickly and efficiently disseminate the warning to floodplain occupants, motorists and others at risk.  Dissemination should be made by as many different means as possible, but care should be taken to insure that warnings from different sources are similar in content.  The warning message should clearly communicate the danger and recommend specific protective actions.  For the Westerly Creek floodplain, warnings can be issued by the broadcast media, by loud speaker equipped vehicles and by Denver’s fixed-location outdoor sirens and Aurora’s siren/voice warning system.  Confirmation of the initial warning is desirable whenever possible.  People tend to seek confirmation before reacting to a warning.

All warning dissemination agencies, including the broadcast media, should have copies of the standard warning messages in Section IX.  The media must be informed beforehand of the existing hazard and the details of the warning system; and they should be checked with periodically to insure their readiness.

## Response of the Public to the Warning

If the desired response of the people in the flood hazard area to a warning is not obtained, the whole warning plan will have failed.  Cultivation of the desired response must begin well in advance of any flood threat by heightening the public awareness of the flood hazard.

These steps will be taken annually to try to cultivate the desired response:

1.	UDFCD will annually mail or deliver a brochure to all occupants of the Westerly Creek floodplain.  The brochure will contain a map of the flood hazard area and provide information on steps to take prior to flooding (plan evacuation routes, buy flood insurance, etc.) and in the event of a flood warning.

2.	The local governments will put a notice of the flood hazard in appropriate publications each spring before the flood season.

3.	Media coverage of the flood hazard, including the annual practice of the warning plan, will be sought.

# COMMUNICATIONS

Communications among personnel within participating agencies will be by normal methods now in operation.  The Denver Office of Emergency Management (Denver OEM) and Aurora Fire Communications are the primary contacts for all communications concerning Westerly Creek.  Denver OEM and Aurora Fire are responsible for relaying weather and flood information to other flood warning plan participants.

During emergency operations, field personnel from one agency wishing to communicate with personnel from another agency should follow their own jurisdiction's incident command system.  This will assure a system of managed communication and information flow.  If either the Denver or Aurora Emergency Operations Center (EOC) is activated, communications will include the EOC(s) and in Denver’s case, the EOC will become the primary contact for all weather and flood-related communications.  The Denver OEM and EOC are collocated.

Primary communications between the National Weather Service (NWS), the private meteorological service (PMS), Denver and Aurora will be by telephone.  When conditions warrant, amateur radio operators can be called into each location to establish alternate communications according to previous agreements.  Denver and Aurora response agencies (police, fire, public works, etc.) will use assigned radio frequencies to communicate with field personnel.

PMS initiated communications require special emphasis.  With Denver OEM and Aurora Fire Communications remaining the primary contacts, Denver Wastewater Management Division (WMD) will also be paged directly by PMS when “Red Flood Alert” messages are issued which require priority attention on their part.  WMD will continue to receive PMS messages from Denver OEM.  Any participating entity may initiate calls to PMS or dispatch personnel to the appropriate EOC if more direct information exchange is desired.  When the Aurora EOC is activated, local authorities may request that PMS include the EOC as an additional or alternate contact point.

The following page contains pertinent telephone numbers and radio frequencies.  The "Internal Communications Flow Chart" illustrates the collection and dissemination of weather information from various sources and shows the intended inter-agency flow paths for data and voice communications.

TELEPHONE NUMBERS AND RADIO FREQUENCIES

Organization	Phone Number	Frequency

*	Denver Office of Emergency Management and EOC	720-865-7600

OEM digital pager (after hours)	303-640-9999

Denver Fire Dispatch (backup for OEM)	720-913-2400

Denver Wastewater Management Division (WMD)	303-446-3400

WMD digital pager	303-640-9309

*	Arapahoe County Sheriff's Department Communications	303-795-4711

*	National Weather Service (NWS)

coordination (duty forecaster)	303-494-4479

severe weather reports	303-494-2884

administration	303-494-3210

public weather information	303-494-4221

*	Urban Drainage and Flood Control District (UDFCD)	303-455-6277

ALERT Base & Weather Bulletin Board	303-433-1247

*	Private Meteorological Service (PMS)

UDFCD Flood Prediction Center (FPC)	303-458-0789

Skyview Weather	303-688-9175

Genesis Weather Solutions	303-927-6522

Commonly Shared Emergency Radio Frequencies

CLEER "Colorado Law Enforcement Emergency Radio"	460.425

FERN  "Fire Emergency Radio Network"	154.280

NLEC  "National Law Enforcement Channel"	155.475

Other Radio Frequencies

ALERT repeaters (Blue Mountain & Smoky Hill)	171.875

ALERT gaging stations	169.525

NOAA Weather Radio (Denver)	162.550

NWR alternate 1 (Longmont/Mead)	162.475

NWR alternate 2 (Fort Collins)	162.450

Ham severe weather spotter network	146.940

alternate	147.120

Websites

ALERT System (public use)							http://alert.udfcd.org

ALERT System (public safety agency use only)				http://alert2.udfcd.org

*	Principle contact for PMS (Genesis Weather Solutions with Skyview Weather)

Figure V-1	Internal Communications Flow Chart

# METEOROLOGICAL SUPPORT

The The National Weather Service (NWS) and a private meteorological service (PMS) will provide meteorological support to the local governments participating in this flood warning plan.  Following is the process by which NWS, PMS, Denver and Aurora should coordinate, exchange information and gear up for potential flood situations within the Westerly Creek drainage basin:

1.	NWS and PMS conduct daily weather discussions as necessary to evaluate flood potentials.  PMS will prepare daily heavy precipitation outlooks from April 15 through September 15.  This product is available from the Internet at http://alert.udfcd.org and may also be faxed to warning plan participants.  When warranted, more detailed quantitative precipitation forecasts (QPF) and storm track predictions will be issued by PMS.  Many NWS products are also available from the Internet including flood advisories, flash flood watches and flash flood warnings.

2.	When weather conditions are such that flash flood producing rains could develop, PMS will relay a MESSAGE 1 by phone to the Denver Office of Emergency Management (Denver OEM) and Aurora Fire Communications.  A MESSAGE 1 that requires priority handling will be identified as a "RED FLOOD ALERT" message.  All RED FLOOD ALERT notifications for this plan will include the Denver Wastewater Management Division as an additional contact.

3.	NWS and PMS continue their weather discussion.  If the flood potential increases one of the following actions will occur:

a.	NWS will issue a Special Weather Statement or Urban and Small Stream Flood Advisory through normal channels (NAWAS, weather wire, weather radio) and/or PMS will send a MESSAGE UPDATE to MESSAGE 1 (RED FLOOD ALERT if warranted) to Denver and Aurora; or

b.	NWS will issue a Flash Flood Watch through normal channels (NAWAS, weather wire, weather radio) and PMS will send MESSAGE 2 to Denver and Aurora; or

c.	PMS will send a MESSAGE 2 to Denver and Aurora indicating an increase in flood potential.

4.	Observers will be designated within each jurisdiction and both Denver and Aurora will consider activating their respective Emergency Operations Center (EOC).

5.	Regular coordination between NWS, PMS, Denver and Aurora will continue.  Should either the Denver or Aurora EOC be activated, PMS and NWS shall be notified immediately and regular coordination will include the EOC.  The Aurora Fire Department may request that all PMS communications be re-directed to their EOC.

6.	When conditions warrant, NWS will issue a Flash Flood Warning through normal channels and PMS will send a MESSAGE 3 to Denver and Aurora.  PMS may issue a MESSAGE 3 prior to the issuance of a NWS warning if PMS feels that a life-threatening flood is imminent.

7.	Denver and Aurora will continue to monitor the situation and will begin public dissemination of warnings when necessary.  PMS will continue to send MESSAGE UPDATES as warranted.

8.	When the hazard has passed, PMS will send a MESSAGE 4 to Denver and Aurora.

Throughout all of the above activities NWS and PMS will coordinate as necessary.  It must be remembered that events may occur so rapidly that it may not be possible to carry out all of the above steps.  Personnel on duty must be prepared for this possibility and must pick up the process as best they can.

The following page provides a brief description of each PMS message and their intended uses.  Subsequent pages contain the standard message forms used by Denver and Aurora for documenting and relaying direct PMS communications.  These message forms should be used to insure rapid flow of information with minimum chance for error.

MESSAGE DESCRIPTIONS

MESSAGE 1 (Nuisance Flood Advisory)

This advisory message is to inform key people that weather conditions are such that nuisance flooding could develop later in the day—impacting streets, low-lying areas, normally dry gulches, small streams, and the recreational trails located along these small drainage channels.  Mud/rockslides are the primary concern for the mountains and foothills.  It will be issued by PMS after consultations with NWS.  If PMS considers the threat imminent, the message will be identified as a RED FLOOD ALERT (RFA).

MESSAGE 2 (Flash Flood Watch)

This advisory message is to inform key people that either a Flash Flood Watch has been issued by NWS or PMS believes that weather conditions are such that a life-threatening flash flood may occur later in the day.  Significant stream flooding and property damage is possible.  PMS will add any additional information that is available.

MESSAGE 3 (Flash Flood Warning)

This warning message will be issued to inform key people that a Flash Flood Warning has been issued by NWS or PMS feels that a life-threatening flash flood is imminent.  Significant stream flooding and property damage is expected.  PMS will add any additional information that is available.  This warning message should be disseminated as quickly as possible.

MESSAGE UPDATE

This message will be used by PMS to update any of the previous messages.  For example, this message can be used to narrow a watch or warning area as more information becomes available, or to provide more site-specific data and direction during an event.  If PMS considers the threat imminent, the message will be identified as an RFA.

MESSAGE 4 (All Clear)

This message cancels the flood potential status.  It is issued by PMS after consultation with NWS and other entities involved with direct PMS communications.

ABBREVIATIONS: NWS...National Weather Service     PMS...Private Meteorological Service

NOTES: F2P2 messages are used to notify local governments of potential (MESSAGE 1 and 2) and imminent (MESSAGE 3 and RFA) flood threats.  All F2P2 messages are designed for internal use and not intended for the general public.  Standard message forms are completed by the meteorologist and sent by fax or email to designated communication fan-out points prior to making contact by telephone.  Each county warning point or designated recipient follows their respective protocol for subsequent dissemination of messages.

An RFA is used when PMS believes that a nuisance flooding rainstorm is imminent and expected to primarily impact streets, low-lying areas, creek-side trails, etc.  This type of flooding is generally considered a low risk to life and property.  When a MESSAGE 2 is in effect, RFA may be used with a MESSAGE UPDATE to indicate imminent nuisance flooding that does not warrant a MESSAGE 3.  When a MESSAGE 3 is in effect, RFA may be used with a MESSAGE UPDATE when an approaching storm is expected to cause nuisance flooding outside the warning area.  Due to the short lead-time nature of the RFA, it should be disseminated as quickly as possible.

RED FLOOD ALERT:     yes     no		Received By

(circle one)		Date

Priority dissemination if yes		Time

## MESSAGE 1

(Internal Alert)

This is _____________________________________ meteorologist

(business name)	(name )

Please prepare to fill in the blanks on UDFCD/F2P2 Form M-1 concerning the possibility of flooding later today.

We have determined that the potential for flooding exists for

from 	until 	.

Prime time for flooding is from 	until 	.

(time)	(time)

The most likely areas to be impacted by flooding are (check appropriate items):

Mountain Canyon Streams & Floodplains

Urban Streams & Floodplains

Urban Streets, Intersections & Low Lying Areas

Other (describe)

The potential risk to life and property is (check appropriate item):

Low		 Moderate		 High

This message is not intended for public dissemination.  Please pass this information along to affected emergency response organizations (police, fire, public works, etc.) within your area.

Also, please take appropriate actions to prepare for possible flooding.

Further information will be provided to you as it becomes available.

AUTOMATIC RED FLOOD ALERT		Received By

Date

Priority dissemination			Time

## MESSAGE 2

(Flash Flood Watch)

This is _____________________________________ meteorologist

(business name)	(name )

Please prepare to fill in the blanks on UDFCD/F2P2 Form M-2 concerning the threat of flash flooding later today.

Use message OPTION (circle one):   A    B

OPTION A

The National Weather Service has issued a Flash Flood Watch for

which means that flash flooding is possible within the watch area.

This watch is valid from 	until 	.

(time)	(time)

We concur/disagree (circle one) with NWS watch and advises

OPTION B

We have determined that the possibility of a life-threatening flash flood exists for

from 	until 	.

(time)	(time)

Please pass this information along to affected emergency response organizations (police, fire, public works, etc.) within your area.

Also, please take appropriate actions to prepare for possible flooding.

Further information will be provided to you as it becomes available.

AUTOMATIC RED FLOOD ALERT		Received By

Date

Priority disseminATION			Time

## MESSAGE 3

(Flash Flood Warning)

This is _____________________________________ meteorologist

(business name)	(name )

Please prepare to fill in the blanks on UDFCD/F2P2 Form M-3 concerning an imminent flash flood.

Use message OPTION (circle one):   A    B

OPTION A

The National Weather Service has issued a Flash Flood Warning for

which means that flash flooding is imminent or has been reported within the warning area.

This warning is valid from 	until 	.

(time)	(time)

OPTION B

We have determined that an imminent danger of a life-threatening flash flood exists for

from 	until 	.

(time)	(time)

Please expedite this information to affected emergency response organizations (police, fire, public works, etc.) within your area.

Also, please take appropriate actions to deal with this flood threat and warn the public.

Further information will be provided to you as it becomes available.

RED FLOOD ALERT:     yes     no		Received By

(circle one)		Date

Priority dissemination if yes		Time

## MESSAGE UPDATE

This is _____________________________________ meteorologist

(business name)	(name )

Please prepare to fill in the blanks on the UDFCD/F2P2 Form M-U concerning updated information on the threat of local flooding.

This is an update to Message(s) 	 concerning possible

flooding for 	.

We advise

Please pass this information along to the emergency response organizations you have previously notified.

Also, please take appropriate action in response to the current flood potential.

Further information will be provided to you as it becomes available.

Received By

Date

Time

## MESSAGE 4

(All Clear)

This is _____________________________________ meteorologist

(business name)	(name )

Please prepare to fill in the blanks on UDFCD/F2P2 Form M-4.

The potential for flooding in

has passed.

Message Number(s) 	 are rescinded.

We will keep you advised of any changes.

Please pass this information along to the emergency response organizations you have previously notified.

# FLOOD THREAT RECOGNITION AND WARNING PROCESS

The The first element of a local flood warning system is the ability to detect and evaluate a flood threat in its early stages and make the decision to warn before flood damages or deaths occur.  The second element is the dissemination of the warning to the public at risk.  The third element is the public response to the warning.  This section deals with the first two elements relative to Westerly Creek including a step-by-step illustration of how the early flood threat recognition and warning process is intended to function.

## Detection and Evaluation of the Flood Threat

The earliest recognition of a potential flood threat for Westerly Creek will be a heavy precipitation forecast by a meteorologist.  The private meteorological service (PMS) retained by Urban Drainage and Flood Control District (UDFCD) provides the meteorological support for this plan among other responsibilities.  This service supplements National Weather Service (NWS) activities by focusing its support for the six-county geographically area comprising UDFCD and tailoring communications to the individual concerns of each local government within this area.  Section VI describes the meteorological support provided by PMS and NWS.

PMS forecasts are coordinated with the NWS Weather Forecast Office at Boulder and provided to the Denver Office of Emergency Management (Denver OEM) and Aurora Fire Communications for subsequent dissemination to affected departments including Denver's Wastewater Management Division (WMD) and Aurora's Utilities Department who have the primary overall flood management responsibility for their jurisdictions.  Participating departments and organizations will take appropriate preparedness actions in accordance with respective internal procedures.

Ten automated rain gages and six stream gages within the Westerly Creek basin will transmit rainfall and stream stage data to five ALERT base stations located at PMS, NWS, UDFCD, Aurora Utilities and WMD.  PMS also has access to other meteorological data from weather radar, satellites, upper air soundings and weather stations.  PMS will use this data and the decision aids in Section III to predict flood potentials and update local officials concerning anticipated flood problems at specific locations.

Emergency Operation Centers (EOCs) may be activated at Aurora and Denver.  For flood situations, the decision to activate the Aurora EOC rests with the Utilities Department Manager of Wastewater Operations.  The Deputy Manager of Public Works for WMD and/or the Director of DENVER OEM have the responsibility for activating the Denver EOC.  EOC personnel will have the opportunity to analyze current ALERT data, interact directly with PMS and NWS, and use the decision aids provided in Section III.  EOCs may access the ALERT system via PC/modem connection to UDFCD's base station or from the Internet.  EOC personnel may also assume the primary flood prediction role should communications links with PMS and NWS fail.  Local authorities and NWS are responsible for making decisions concerning public warning.

Section VIII provides further discussion regarding procedures and general responsibilities of the principle organizations involved with this flood warning plan.

## Dissemination of the Warning

Dissemination of warning information to the public will be accomplished through the electronic media and by Aurora and Denver officials.  Dissemination by the media may be channeled through NWS by local authorities or the media may be contacted directly.  NWS will use NAWAS, METS, NOAA Weather Wire, NOAA Weather Radio and/or EAS at their option to issue the public warning.  Section IV describes the various methods for disseminating flood warnings and advisories to the public.

Aurora and Denver may also provide flood warnings directly to the public at risk within their respective jurisdictions according to internal procedures.  Standardized messages to be used by local governments are included in Section IX.

## Step by Step Procedure

The following step-by-step procedure is an idealized summary of how the flood threat evaluation and warning process is supposed to function.  THE USER MUST BE AWARE THAT THE SYSTEM WILL NOT ALWAYS FUNCTION AS PLANNED.  THE USER MUST BE PREPARED TO FUNCTION WITHIN THE FRAMEWORK OUTLINED HERE, EVEN IF ALL STEPS LISTED HEREIN DO NOT OCCUR OR OCCUR OUT OF ORDER.

A.	Normal Operations:

1.	PMS will be monitoring weather conditions on a routine basis, including appropriate coordination with NWS.  It should be noted that PMS, NWS and UDFCD have an ongoing relationship that involves forecasts of flood potential for the entire Denver/Boulder metro area; and the Westerly Creek Flood Warning Plan is an add-on responsibility for meteorologists and other technical support personnel.

2.	When weather conditions warrant, and after consultation with NWS, PMS will issue a MESSAGE 1 (messages are explained in detail in Section VI) by telephone to Aurora Fire Communications and Denver OEM.  PMS may indicate urgency by stating that the MESSAGE 1 is a "RED FLOOD ALERT" message.  The term RED FLOOD ALERT is used to prompt priority internal message dissemination by emergency communications personnel and should not be confused with the "Red Flag Warning" fire weather product issued by NWS.  The WMD pager number will also be called by PMS when any RED FLOOD ALERT flood message is issued for Denver.  Section V contains details regarding weather-related communications and the flow of critical information.

3.	Aurora and Denver will forward the MESSAGE 1 to appropriate city and county departments and other support agencies according to internal procedures.  REMEMBER THAT A MESSAGE 1 IS A FORECAST OF A POTENTIAL FOR FLOODING.  IT IS NOT INTENDED FOR PUBLIC DISSEMINATION SIMPLY BECAUSE IT IS TOO EARLY TO TELL WHAT WILL ACTUALLY DEVELOP.

B.	Increased Awareness:

1.	PMS will continue to monitor the situation and will issue MESSAGE UPDATES (RED FLOOD ALERT if warranted) to keep local officials advised of significant changes since the previous message.

2.	NWS may issue a Special Weather Statement or other appropriate communication concerning heavy precipitation through normal channels (Section IV).  PMS may follow this with a MESSAGE UPDATE providing a more detailed interpretation of how this affects Aurora, Denver and the Westerly Creek basin.

3.	Aurora Fire Communications and Denver OEM will forward this information and each subsequent contact should follow internal procedures for updating key pre-designated people concerning the increased flood potential.

4.	Contingency plans should be established to ensure that future steps in this warning plan can be carried out if needed.

C.	Flash Flood Watch:

1.	As the flood potential becomes more apparent or threatening, NWS will issue a Flash Flood Watch for a geographic area.  The Flash Flood Watch will be issued on NAWAS, Weather Radio and Weather Wire.

2.	PMS will issue a MESSAGE 2 to Aurora Fire Communications and Denver OEM for relay to other entities.  PMS will also call the WMD pager number.  MESSAGE 2 will not only indicate the issuance of a Flash Flood Watch by NWS but will also attempt to provide additional information concerning severity of the threat and a more definitive identification of areas at risk.  PMS may also issue a MESSAGE 2 without a NWS issuance of a Flash Flood Watch if PMS feels the risk is high that a life-threatening flood may occur later in the day.

3.	PMS will continue to monitor all available data and will initiate an analysis of potential flood peaks based on predicted rainfall and decision aids (Section III).

4.	As additional data (including rainfall and stream gage data) becomes available, PMS will update rainfall forecasts and flood peak projections and will provide information to Aurora and Denver in the form of MESSAGE UPDATES.

5.	Denver and Aurora should consider activating their EOCs at this time if not done previously and maintain frequent two-way communications with PMS and NWS.

6.	Local officials will send rain and stream observers to pre-determined locations.  Stream gage readings and field observations will be reported to PMS and NWS through Aurora Fire Communications, Denver OEM or EOC personnel.

7.	PMS will confer as needed with NWS.  When rainfall estimates or measurements, and flood peak predictions indicate an imminent flood danger; or when automated stream gages or field observations confirm the threat, a Flash Flood Warning will be issued by NWS.

D.	Flash Flood Warning:

1.	NWS will issue a Flash Flood Warning through NAWAS, METS, Weather Radio, Weather Wire and perhaps EAS.  A Flash Flood Warning means that flooding is imminent or is occurring.

2.	PMS will issue a MESSAGE 3 to Aurora and Denver.  PMS may also issue a MESSAGE 3 without a NWS issuance of a Flash Flood Warning if PMS feels that a life-threatening flood is imminent.

3.	Aurora and Denver should then disseminate the warning within their jurisdiction according to internal procedures using standardized messages where appropriate (Section IX).

4.	PMS, NWS and stream observers will continue to monitor the situation to either confirm flooding or determine that the hazard has passed.

5.	When the threat of flooding has passed (whether a flood has occurred or not), PMS will issue a MESSAGE 4.

6.	If flooding has occurred, Aurora and Denver will follow their respective disaster response plans.

E.	Other Considerations:

1.	As noted above, this is an idealized scenario.  It is unlikely that any flood event would be handled exactly as outlined.  Each participant must be cognizant of the probable necessity to deviate from his plan in order to react to the real situation.

2.	NWS is the only federal agency that can officially issue a Flash Flood Watch or Flash Flood Warning.  In the event of a difference of opinion between NWS and PMS, PMS will advise Aurora and Denver of the difference of opinion as follows:

a.	If PMS feels a watch or warning should be issued but NWS doesn't agree, PMS will use a MESSAGE 2 or MESSAGE 3 to inform local authorities of their forecast and prompt each jurisdiction to make their own warning decision.

b.	If NWS issues a watch or warning but PMS doesn't feel it is warranted, PMS will still issue the appropriate MESSAGE 2 or 3, but indicate their misgivings.  The standard message forms in Section VI are designed to clearly indicate either concurrence or disagreement between PMS and NWS.

3.	In the event of a local decision to warn, the official in charge should immediately contact NWS to avoid public confusion.  Also, NWS may be the quickest means of notifying the public via the electronic news media.  NWS may acknowledge the involvement of local authorities (i.e., Aurora, Denver, UDFCD, etc.) when issuing the warning.

4.	Flood warnings for Westerly Creek can be issued by local officials using emergency vehicle loud speakers, door-to-door notification and other methods deemed appropriate.

# PROCEDURES AND GENERAL RESPONSIBILITIES

Procedures and general responsibilities for the operational elements of this flood warning plan are contained in this section.  Three points regarding these procedures need to be emphasized:

1.	The operating procedure for each organization addresses only those actions and activities that organization must accomplish in order to effect a coordinated response to a flood situation within the Westerly Creek drainage basin.

2.	Every individual responsible for the implementation of any part of this warning plan should be familiar with the entire plan.

3.	This section does not contain detailed operating procedures but provides an overview of technical support activities, communications, emergency operations and general responsibilities of each participating organization.  Specific task assignments and responsibilities are described in local emergency operation plans and other supplemental documents maintained by local governments.  Similarly, the technical support organizations including National Weather Service (NWS) and Urban Drainage and Flood Control District (UDFCD) and their private meteorological service (PMS) routinely update their own internal operating procedures, policies and duty manuals.

## National Weather Service and Private Meteorological Service

The NWS Weather Forecast Office at Boulder has the responsibility for issuing Flash Flood Watches, Flash Flood Warnings, general Flood Warnings, and many other types of weather warnings, advisories and forecasts for northeastern Colorado, including Denver and Aurora, in which the Westerly Creek drainage basin is located.  PMS has been retained by UDFCD to supplement NWS flood-related activities within UDFCD boundaries, which includes the Westerly Creek drainage basin.  PMS is responsible for monitoring weather and flood conditions, forecasting flood potentials, issuing standardized internal messages, and directly advising local officials concerning specific flood threats.  UDFCD provides PMS with access to weather radar, satellite data, lightning data and ALERT base stations, that collect real-time rain, stream levels and surface weather data from the Westerly Creek Flood Detection Network and other detection networks operating in or near the Denver/Boulder metropolitan area.  PMS acquires additional meteorological data, performs their own analyses and prepares forecasts tailored to local government needs.  Coordination between NWS and PMS will be as follows:

1.	Coordination between NWS and PMS will be initiated by either party when it is deemed that the potential for flash flood producing storms exists.  A private line at the Flood Prediction Center (FPC) located at UDFCD has been established for this purpose.  NWS and PMS will consult on when to issue a MESSAGE 1 (see Section VI for MESSAGE descriptions) to the Denver Office of Emergency Management (OEM) or Fire Dispatch and Aurora Fire Communications.  MESSAGE 1 will be communicated by phone and fax.  PMS personnel will establish support operations at the FPC either before or soon after a MESSAGE is issued.

2.	If PMS feels that a MESSAGE 1 requires priority handling by emergency communications personnel, the message will be preceded by the statement:  "THIS IS A RED FLOOD ALERT MESSAGE."  The RED FLOOD ALERT message should not be confused with the "Red Flag Warning" fire weather product issued by NWS.

3.	Coordination between NWS and PMS will continue at two-hour intervals or less as needed until the potential passes or a more serious situation develops.  NWS may issue a Special Weather Statement or Urban and Small Stream Flood Advisory through normal channels if conditions warrant (see Section IV for discussion of NWS products).

4.	If the situation is up-graded to a Flash Flood Watch by NWS, they will notify PMS and put the watch out on NOAA Weather Wire, NOAA Weather Radio, and NAWAS.  After being contacted by NWS, PMS will immediately issue a MESSAGE 2 to Denver and Aurora.

5.	If PMS feels the flood potential has increased but NWS does not want to issue a Flash Flood Watch, PMS can either issue a MESSAGE UPDATE to Denver and Aurora indicating an increase in flood potential or upgrade the message status to a MESSAGE 2 if they feel a life-threatening flood potential exists.

6.	Following receipt of a MESSAGE 2 or MESSAGE UPDATE, Denver and Aurora should pass along any rainfall or other data available to them and inform PMS and NWS of such observations.

7.	Communications between NWS, PMS, Denver and Aurora will continue as needed.  Should either the Denver or Aurora EOC be activated, the responsible local government agency can request that PMS communications be redirected to the respective EOC.

8.	If the situation is up-graded to a Flash Flood Warning by NWS, they will notify PMS and put the warning out on NOAA Weather Wire, NOAA Weather Radio, NAWAS and METS.  After being contacted by NWS, PMS will immediately issue a MESSAGE 3 to Denver and Aurora.  PMS can also issue a MESSAGE 3 without a NWS Flash Flood Warning if PMS believes a life-threatening flood is imminent.

9.	PMS can issue a MESSAGE UPDATE to affected local governments at any time an update of the current message in effect is warranted but the next higher or lower message is not appropriate.

10.	Local government officials may recognize the equivalent of a Flash Flood Warning, independent of NWS or PMS, if they feel the situation warrants.  NWS and PMS should be immediately advised of this circumstance.

11.	Local government officials may decide on their own to evacuate the floodplain, close roads or take some other appropriate emergency action.  NWS and PMS will be informed of the situation immediately.  NWS will disseminate this information over their communications network wherever possible.

12.	Consultations between NWS, PMS, Denver, Aurora and other flood warning plan participants should continue as needed until the potential has passed or a flood is occurring.

13.	When NWS and PMS agree that the potential has passed, PMS should issue a MESSAGE 4 to Denver and Aurora.

PMS will have forecaster(s) on duty from 7 AM until 10 PM each day.  If a flash flood potential exists at 10 PM, PMS will continue to staff the FPC until the potential has ended.  If weather conditions change after 10 PM and a potential flood situation develops, NWS will notify the PMS duty person.  This individual will respond to the FPC and begin the coordination process described above.

## City and County of Denver

Denver's Public Works Department (PW) is the primary agency responsible for initiating emergency activities relative to potential flooding on Westerly Creek.  PWQ, in coordination with Denver OEM, makes the decision to activate forces, including the activation of Denver's Emergency Operations Center (EOC), based on the flood potential contained in the weather forecast.  When activated, PW begins the coordination necessary to establish the Incident Command Network for floods.  This network becomes an integral part of the Incident Command System (ICS) established at the EOC.  The Manager of PW serves as the Incident Commander for flood emergencies.

The following pages, excerpted from Chapter 2 of Denver's Standard Operating Procedure for Floods, summarize the general responsibilities of key flood response agencies:

## City of Aurora

The Aurora Utilities Department is the primary agency responsible for initiating emergency activities relative to potential flooding on Westerly Creek.  The Utilities Department Manager of Wastewater Operations makes the decision to activate forces, including the activation of Aurora's Emergency Operations Center (EOC), based on the flood potential contained in the weather forecast.  When activated, inter-agency coordination will follow Aurora's Incident Command System (ICS).  The Manager of Wastewater Operations serves as the Incident Commander for flood emergencies.

The following pages, excerpted from Aurora's Emergency Operations Plan - Flash Flood Annex, summarize the general responsibilities of key flood response agencies:

Figure VIII-1	Excerpt: Aurora – EOP - Flash Flood Annex (August 1992)

# PUBLIC DISSEMINATION

The first response of many people when they hear a warning is to try to confirm it from another source.  Therefore, it is very important that all public dissemination messages present the same information.  The messages in this Section are written to insure that the same information is given from all possible sources.  These messages are categorized as follows:

1.	Messages to be broadcast to the public and the media.

2.	Messages to be used by emergency vehicles circulating through the floodplain or by existing public address systems.

The messages on the following pages are written in fill-in-the-blank format.  Information to fill in the blanks will be provided by local authorities from either Denver, Aurora or both.

CITIZEN ALERT MESSAGE A1

The following message may be used when the National Weather Service has issued a Flash Flood Watch:

THE NATIONAL WEATHER SERVICE HAS ISSUED A FLASH FLOOD WATCH FOR

(geographic area)

A FLASH FLOOD WATCH MEANS FLOODING IS POSSIBLE WITHIN THE WATCH AREA.  PERSONS IN THE WATCH AREA ARE ADVISED TO PREPARE FOR POSSIBILE FLASH FLOODING, KEEP INFORMED, AND BE READY FOR QUICK ACTION IF FLASH FLOODING IS OBSERVED OR A FLASH FLOOD WARNING IS ISSUED.

CITIZEN ALERT MESSAGE A2

The following message may be used if the National Weather Service has not issued a Flash Flood Watch but local government officials believe that flash flooding is possible:

PERSONNEL

(local government agency or agencies)

HAVE DETERMINED THAT A FLASH FLOOD IS POSSIBLE WITHIN

(geographic area)

PERSONS WITHIN THIS AREA ARE ADVISED TO PREPARE FOR POSSIBLE FLASH FLOODING, KEEP INFORMED, AND BE READY FOR QUICK ACTION IF FLASH FLOODING IS OBSERVED OR A FLASH FLOOD WARNING IS ISSUED.

EVACUATION MESSAGE

The following message may be used if a decision has been made to warn people in the floodplain to evacuate:

THE 	WARNS

(responsible agency)

THAT FLOODING WILL BEGIN AT 	 AT

(location)

APPROXIMATELY 	.

(estimated time)

HAS URGED EVERYONE IN THE

(person in authority)

FLOOD HAZARD AREAS TO EVACUATE THE AREA IMMEDIATELY.  PERSONS EVACUATING THE AREA SHOULD MOVE AWAY FROM THE CREEK.  DO NOT ATTEMPT TO OUT-RUN A FLOOD IN YOUR VEHICLE.  DISPLACED PERSONS SHOULD GO TO

.  (Add any confirmed reports of flooding or heavy rainfall). 	(place)

DO NOT ATTEMPT TO CROSS A FLOODED AREA ON FOOT OR IN YOUR VEHICLE.

SUPPLEMENTAL (check appropriate statements):

DO NOT ENTER BARRICADED AREAS.

ABANDON YOUR VEHICLE IMMEDIATELY WHEN WATER RISES ABOVE THE ROAD ON WHICH YOU ARE DRIVING.

IF YOU ARE DRIVING IN A MOUNTAIN CANYON, ABANDON YOUR VEHICLE IMMEDIATELY AND CLIMB TO HIGH GROUND.

EMERGENCY VEHICLE/PUBLIC ADDRESS MESSAGE

The following message may be used over public address systems or by emergency vehicles circulating in the floodplain:

THIS IS

(emergency service agency)

FLOODING WILL BEGIN AT 	 AT

(location)

APPROXIMATELY 		.

(estimated time)

HAS URGED EVERYONE IN THE FLOOD

(person in authority)

HAZARD AREAS TO EVACUATE THE AREA IMMEDIATELY.  PERSONS EVACUATING THE AREA SHOULD MOVE AWAY FROM THE CREEK.  DO NOT ATTEMPT TO OUT-RUN A FLOOD IN YOUR VEHICLE.  DISPLACED PERSONS SHOULD GO TO

.  (Add any confirmed reports of

(place)

flooding or heavy rainfall.)  DO NOT ATTEMPT TO CROSS A FLOODED AREA ON FOOT OR IN YOUR VEHICLE.

SUPPLEMENTAL (check appropriate statements):

DO NOT ENTER BARRICADED AREAS.

ABANDON YOUR VEHICLE IMMEDIATELY WHEN WATER RISES ABOVE THE ROAD ON WHICH YOU ARE DRIVING.

# MEDIA CONTACTS

Each year, prior to the flood season, the Urban Drainage and Flood Control District (UDFCD) will inform the news media of the flood hazard associated with Westerly Creek and other tributaries.  The media will be requested to publicize the hazard by providing information about this flood warning plan, including steps occupants of the hazard area should take when a flash flood warning is issued.

UDFCD will also, on an annual basis, work with local public information offices to make the broadcast media aware of how the sample advisory and warning messages contained in Section IX may be used.

# ANNUAL REVISIONS AND PRACTICES

Each year, prior to the beginning of the active flood season, the Urban Drainage and Flood Control District (UDFCD) will issue appropriate revisions to this document, after consulting with affected emergency managers and other appropriate local officials.  If no revisions are needed, UDFCD will inform plan holders, accordingly.

UDFCD will also schedule at least one annual practice exercise.  The exercise may take various forms including tabletop simulations, message dissemination/communication tests, functional exercises involving field operations, combinations of the preceding examples, or a less complex orientation meeting.  The exercise may be publicized by local public information offices or by UDFCD to further increase public awareness of the flood hazard and help attain the desired public response when flash flood warnings are issued.

# Text boxes

Mexico Ave.

Peoria St.

#433

High Line Canal

Lansing St.

#423

Yosemite St.

11th Ave.

#413

Chester St.

Montview Blvd.

#403

WESTERLY CREEK

FLOOD WARNING PLAN